## IV-Summary
IV-Summary |  | Step Name | newstep 1 |  | Step Name | newstep 1 |  | Step Name | newstep 1
Serial Number | sn18446244078557456225 | Input Parameters |  |  | Data series | IV Curve |  | Data series | Raw IV Data
Start Time | 2024-06-14 13:44
Comment |  | Parameter | Value | Unit | Parameter | Value | Unit | Parameter | Value | Unit
Lot |  | StepType | voltage_sweep_standard |  | Isc | 5.0201 | A | Isc | 5.0201 | A
Recipe | AM 1.5G | StartVoltage | 0 | V | Voc | 20.5081 | V | Voc | 20.5081 | V
User | engineer | EndVoltage | 6 | V | FF | 66.6616 | % | FF | 66.6616 | %
User Groups | Engineer | MeasurementTime | 200 | ms | Vmpp | 15.1623 | V | Vmpp | 15.1623 | V
Master Device | IV | SampleCount | 300 |  | Impp | 4.5264 | A | Impp | 4.5264 | A
Started by | LabStatusLine (button start) | PreMeasurementDelay | 2000 | ms | Pmpp | 68.63 | W | Pmpp | 68.63 | W
Version | SinusGUI v2.526 b01 (b7453.24232#32) | MinSettlingTime | 50 | µs | Idmpp |  | A | Idmpp |  | A
Save Time | 2024-06-14 13:45 | IntensityCorrection | no |  | ETA | 11.852 | % | ETA | 11.852 | %
Cell Type | Bosch | TemperatureCorrection | no |  | IatV_L1_current |  | A | IatV_L1_current |  | A
Line Resistance [mOhm] | 0 | CurrentAmplifier | low |  | IatV_L1_voltage | 0.5 | V | IatV_L1_voltage | 0.5 | V
Firmware | 1.07.21 (1#[Release4Bootloader_Outdoor]2#[Mar 29 2019]3#[14:36:23]) | VoltageAmplifier | low |  | IatV_L2_current |  | A | IatV_L2_current |  | A
FPGA | T2-10.2 | DataPointDistribution | linear |  | IatV_L2_voltage | 0.4 | V | IatV_L2_voltage | 0.4 | V
[5 empty] | IatV_L3_current |  | A | IatV_L3_current |  | A
[5 empty] | IatV_L3_voltage | 0.6 | V | IatV_L3_voltage | 0.6 | V
[5 empty] | Area | 6095.35 | cm2 | Area | 6095.35 | cm2
[5 empty] | Temperature | 25 | °C | Temperature | 25 | °C
[5 empty] | Ifor05 |  | A | Ifor05 |  | A

## IV-Raw
IV-Raw |  | Step Name | newstep 1 | Step Name | newstep 1 | Step Name | newstep 1 | Step Name | newstep 1
Serial Number | sn18446244078557456225 | Data series | IV Curve | Data series | Raw IV Data | Data series | Intensity (raw data) | Data series | Intensity
Start Time | 2024-06-14 13:44
Comment |  | Voltage [V] | Current [A] | Voltage [V] | Current [A] | Set Voltage [V] | E | Set Voltage [V] | E
Lot |  | 20.5117 | 0.006507 | 20.5117 | 0.006507 | 0 | -113.0625 | 0 | -113.0625
Recipe | AM 1.5G | 20.5117 | 0.006507 | 20.5117 | 0.006507 | 0.020067 | -113.0625 | 0.020067 | -113.0625
User | engineer | 20.5117 | 0.006507 | 20.5117 | 0.006507 | 0.040134 | -113.0625 | 0.040134 | -113.0625
User Groups | Engineer | 20.5117 | 0.006507 | 20.5117 | 0.006507 | 0.060201 | -113.0625 | 0.060201 | -113.0625
Master Device | IV | 20.5117 | 0.006507 | 20.5117 | 0.006507 | 0.080268 | -113.0625 | 0.080268 | -113.0625
Started by | LabStatusLine (button start) | 20.5117 | 0.006507 | 20.5117 | 0.006507 | 0.10033 | -113.0625 | 0.10033 | -113.0625
Version | SinusGUI v2.526 b01 (b7453.24232#32) | 20.5117 | 0.006507 | 20.5117 | 0.006507 | 0.1204 | -113.0625 | 0.1204 | -113.0625
Save Time | 2024-06-14 13:45 | 20.5117 | 0.006507 | 20.5117 | 0.006507 | 0.14047 | -113.0625 | 0.14047 | -113.0625
Cell Type | Bosch | 20.5117 | 0.006507 | 20.5117 | 0.006507 | 0.16054 | -113.0625 | 0.16054 | -113.0625
Line Resistance [mOhm] | 0 | 20.5117 | 0.006507 | 20.5117 | 0.006507 | 0.1806 | -113.0625 | 0.1806 | -113.0625
Firmware | 1.07.21 (1#[Release4Bootloader_Outdoor]2#[Mar 29 2019]3#[14:36:23]) | 20.5117 | 0.006507 | 20.5117 | 0.006507 | 0.20067 | -113.0625 | 0.20067 | -113.0625
FPGA | T2-10.2 | 20.5117 | 0.006507 | 20.5117 | 0.006507 | 0.22074 | -113.0625 | 0.22074 | -113.0625
|  | 20.5117 | 0.006507 | 20.5117 | 0.006507 | 0.2408 | -113.0625 | 0.2408 | -113.0625
|  | 20.5117 | 0.006507 | 20.5117 | 0.006507 | 0.26087 | -113.0625 | 0.26087 | -113.0625
|  | 20.5044 | -0.0022524 | 20.5044 | -0.0022524 | 0.28094 | -113.0625 | 0.28094 | -113.0625
|  | 20.468 | -0.053558 | 20.468 | -0.053558 | 0.301 | -113.0625 | 0.301 | -113.0625
|  | 20.4243 | -0.10987 | 20.4243 | -0.10987 | 0.32107 | -113.0625 | 0.32107 | -113.0625
|  | 20.4097 | -0.1349 | 20.4097 | -0.1349 | 0.34114 | -113.0625 | 0.34114 | -113.0625
|  | 20.3952 | -0.15617 | 20.3952 | -0.15617 | 0.3612 | -113.0625 | 0.3612 | -113.0625
|  | 20.3733 | -0.17744 | 20.3733 | -0.17744 | 0.38127 | -113.0625 | 0.38127 | -113.0625
|  | 20.3587 | -0.19746 | 20.3587 | -0.19746 | 0.40134 | -113.0625 | 0.40134 | -113.0625
|  | 20.3442 | -0.21874 | 20.3442 | -0.21874 | 0.4214 | -113.0625 | 0.4214 | -113.0625
|  | 20.3296 | -0.24001 | 20.3296 | -0.24001 | 0.44147 | -113.0625 | 0.44147 | -113.0625
|  | 20.3077 | -0.26003 | 20.3077 | -0.26003 | 0.46154 | -113.0625 | 0.46154 | -113.0625
|  | 20.2932 | -0.2813 | 20.2932 | -0.2813 | 0.48161 | -113.0625 | 0.48161 | -113.0625
|  | 20.2786 | -0.30258 | 20.2786 | -0.30258 | 0.50167 | -113.0625 | 0.50167 | -113.0625
|  | 20.264 | -0.3226 | 20.264 | -0.3226 | 0.52174 | -113.0625 | 0.52174 | -113.0625
|  | 20.2495 | -0.34387 | 20.2495 | -0.34387 | 0.54181 | -113.0625 | 0.54181 | -113.0625
|  | 20.2276 | -0.36389 | 20.2276 | -0.36389 | 0.56187 | -113.0625 | 0.56187 | -113.0625
|  | 20.213 | -0.38517 | 20.213 | -0.38517 | 0.58194 | -113.0625 | 0.58194 | -113.0625
|  | 20.1985 | -0.40519 | 20.1985 | -0.40519 | 0.60201 | -113.0625 | 0.60201 | -113.0625
|  | 20.1839 | -0.42396 | 20.1839 | -0.42396 | 0.62207 | -113.0625 | 0.62207 | -113.0625
|  | 20.162 | -0.44648 | 20.162 | -0.44648 | 0.64214 | -113.0625 | 0.64214 | -113.0625
|  | 20.1548 | -0.46651 | 20.1548 | -0.46651 | 0.66221 | -113.0625 | 0.66221 | -113.0625
|  | 20.1329 | -0.48778 | 20.1329 | -0.48778 | 0.68227 | -113.0625 | 0.68227 | -113.0625
|  | 20.1183 | -0.5078 | 20.1183 | -0.5078 | 0.70234 | -113.0625 | 0.70234 | -113.0625
|  | 20.1038 | -0.52907 | 20.1038 | -0.52907 | 0.72241 | -113.0625 | 0.72241 | -113.0625
|  | 20.0892 | -0.55035 | 20.0892 | -0.55035 | 0.74247 | -113.0625 | 0.74247 | -113.0625
|  | 20.0746 | -0.57162 | 20.0746 | -0.57162 | 0.76254 | -113.0625 | 0.76254 | -113.0625
|  | 20.0528 | -0.59039 | 20.0528 | -0.59039 | 0.78261 | -113.0625 | 0.78261 | -113.0625
|  | 20.0382 | -0.61166 | 20.0382 | -0.61166 | 0.80268 | -113.0625 | 0.80268 | -113.0625
|  | 20.0236 | -0.63294 | 20.0236 | -0.63294 | 0.82274 | -113.0625 | 0.82274 | -113.0625
|  | 20.0091 | -0.65296 | 20.0091 | -0.65296 | 0.84281 | -113.0625 | 0.84281 | -113.0625
|  | 19.9872 | -0.67298 | 19.9872 | -0.67298 | 0.86288 | -113.0625 | 0.86288 | -113.0625
|  | 19.9799 | -0.693 | 19.9799 | -0.693 | 0.88294 | -113.0625 | 0.88294 | -113.0625
|  | 19.9581 | -0.71427 | 19.9581 | -0.71427 | 0.90301 | -113.0625 | 0.90301 | -113.0625
|  | 19.9435 | -0.7368 | 19.9435 | -0.7368 | 0.92308 | -113.0625 | 0.92308 | -113.0625
|  | 19.9289 | -0.75557 | 19.9289 | -0.75557 | 0.94314 | -113.0625 | 0.94314 | -113.0625
|  | 19.9071 | -0.77684 | 19.9071 | -0.77684 | 0.96321 | -113.0625 | 0.96321 | -113.0625
|  | 19.8925 | -0.79686 | 19.8925 | -0.79686 | 0.98328 | -113.0625 | 0.98328 | -113.0625
|  | 19.8706 | -0.81688 | 19.8706 | -0.81688 | 1.0033 | -113.0625 | 1.0033 | -113.0625
|  | 19.8634 | -0.83816 | 19.8634 | -0.83816 | 1.0234 | -113.0625 | 1.0234 | -113.0625
|  | 19.8415 | -0.85818 | 19.8415 | -0.85818 | 1.0435 | -113.0625 | 1.0435 | -113.0625
|  | 19.8269 | -0.87945 | 19.8269 | -0.87945 | 1.0635 | -113.0625 | 1.0635 | -113.0625
|  | 19.8124 | -0.89947 | 19.8124 | -0.89947 | 1.0836 | -113.0625 | 1.0836 | -113.0625
|  | 19.7978 | -0.9195 | 19.7978 | -0.9195 | 1.1037 | -113.0625 | 1.1037 | -113.0625
|  | 19.7759 | -0.94077 | 19.7759 | -0.94077 | 1.1237 | -113.0625 | 1.1237 | -113.0625
|  | 19.7541 | -0.96204 | 19.7541 | -0.96204 | 1.1438 | -113.0625 | 1.1438 | -113.0625
|  | 19.7395 | -0.98331 | 19.7395 | -0.98331 | 1.1639 | -113.0625 | 1.1639 | -113.0625
|  | 19.7249 | -1.0033 | 19.7249 | -1.0033 | 1.1839 | -113.0625 | 1.1839 | -113.0625
|  | 19.7031 | -1.0234 | 19.7031 | -1.0234 | 1.204 | -113.0625 | 1.204 | -113.0625
|  | 19.6958 | -1.0421 | 19.6958 | -1.0421 | 1.2241 | -113.0625 | 1.2241 | -113.0625
|  | 19.6739 | -1.0647 | 19.6739 | -1.0647 | 1.2441 | -113.0625 | 1.2441 | -113.0625
|  | 19.6594 | -1.0847 | 19.6594 | -1.0847 | 1.2642 | -113.0625 | 1.2642 | -113.0625
|  | 19.6375 | -1.1047 | 19.6375 | -1.1047 | 1.2843 | -113.0625 | 1.2843 | -113.0625
|  | 19.623 | -1.1235 | 19.623 | -1.1235 | 1.3043 | -113.0625 | 1.3043 | -113.0625
|  | 19.6084 | -1.1435 | 19.6084 | -1.1435 | 1.3244 | -113.0625 | 1.3244 | -113.0625
|  | 19.5865 | -1.1648 | 19.5865 | -1.1648 | 1.3445 | -113.0625 | 1.3445 | -113.0625
|  | 19.572 | -1.1848 | 19.572 | -1.1848 | 1.3645 | -113.0625 | 1.3645 | -113.0625
|  | 19.5501 | -1.2061 | 19.5501 | -1.2061 | 1.3846 | -113.0625 | 1.3846 | -113.0625
|  | 19.5355 | -1.2273 | 19.5355 | -1.2273 | 1.4047 | -113.0625 | 1.4047 | -113.0625
|  | 19.521 | -1.2461 | 19.521 | -1.2461 | 1.4247 | -113.0625 | 1.4247 | -113.0625
|  | 19.4991 | -1.2674 | 19.4991 | -1.2674 | 1.4448 | -113.0625 | 1.4448 | -113.0625
|  | 19.4845 | -1.2874 | 19.4845 | -1.2874 | 1.4649 | -113.0625 | 1.4649 | -113.0625
|  | 19.4627 | -1.3087 | 19.4627 | -1.3087 | 1.4849 | -113.0625 | 1.4849 | -113.0625
|  | 19.4481 | -1.3287 | 19.4481 | -1.3287 | 1.505 | -113.0625 | 1.505 | -113.0625
|  | 19.4335 | -1.3512 | 19.4335 | -1.3512 | 1.5251 | -113.0625 | 1.5251 | -113.0625
|  | 19.4117 | -1.37 | 19.4117 | -1.37 | 1.5452 | -113.0625 | 1.5452 | -113.0625
|  | 19.3971 | -1.3913 | 19.3971 | -1.3913 | 1.5652 | -113.0625 | 1.5652 | -113.0625
|  | 19.3826 | -1.4113 | 19.3826 | -1.4113 | 1.5853 | -113.0625 | 1.5853 | -113.0625
|  | 19.3607 | -1.4326 | 19.3607 | -1.4326 | 1.6054 | -113.0625 | 1.6054 | -113.0625
|  | 19.3461 | -1.4538 | 19.3461 | -1.4538 | 1.6254 | -113.0625 | 1.6254 | -113.0625
|  | 19.3243 | -1.4726 | 19.3243 | -1.4726 | 1.6455 | -113.0625 | 1.6455 | -113.0625
|  | 19.3097 | -1.4939 | 19.3097 | -1.4939 | 1.6656 | -113.0625 | 1.6656 | -113.0625
|  | 19.2878 | -1.5139 | 19.2878 | -1.5139 | 1.6856 | -113.0625 | 1.6856 | -113.0625
|  | 19.266 | -1.5352 | 19.266 | -1.5352 | 1.7057 | -113.0625 | 1.7057 | -113.0625
|  | 19.2514 | -1.5552 | 19.2514 | -1.5552 | 1.7258 | -113.0625 | 1.7258 | -113.0625
|  | 19.2296 | -1.5752 | 19.2296 | -1.5752 | 1.7458 | -113.0625 | 1.7458 | -113.0625
|  | 19.215 | -1.5977 | 19.215 | -1.5977 | 1.7659 | -113.0625 | 1.7659 | -113.0625
|  | 19.2004 | -1.6178 | 19.2004 | -1.6178 | 1.786 | -113.0625 | 1.786 | -113.0625
|  | 19.1786 | -1.639 | 19.1786 | -1.639 | 1.806 | -113.0625 | 1.806 | -113.0625
|  | 19.164 | -1.6578 | 19.164 | -1.6578 | 1.8261 | -113.0625 | 1.8261 | -113.0625
|  | 19.1422 | -1.6791 | 19.1422 | -1.6791 | 1.8462 | -113.0625 | 1.8462 | -113.0625
|  | 19.1276 | -1.6991 | 19.1276 | -1.6991 | 1.8662 | -113.0625 | 1.8662 | -113.0625
|  | 19.113 | -1.7204 | 19.113 | -1.7204 | 1.8863 | -113.0625 | 1.8863 | -113.0625
|  | 19.0839 | -1.7404 | 19.0839 | -1.7404 | 1.9064 | -113.0625 | 1.9064 | -113.0625
|  | 19.0693 | -1.7617 | 19.0693 | -1.7617 | 1.9264 | -113.0625 | 1.9264 | -113.0625
|  | 19.0547 | -1.7829 | 19.0547 | -1.7829 | 1.9465 | -113.0625 | 1.9465 | -113.0625
|  | 19.0329 | -1.803 | 19.0329 | -1.803 | 1.9666 | -113.0625 | 1.9666 | -113.0625
|  | 19.0183 | -1.823 | 19.0183 | -1.823 | 1.9866 | -113.0625 | 1.9866 | -113.0625
|  | 18.9965 | -1.8442 | 18.9965 | -1.8442 | 2.0067 | -113.0625 | 2.0067 | -113.0625
|  | 18.9746 | -1.8643 | 18.9746 | -1.8643 | 2.0268 | -113.0625 | 2.0268 | -113.0625
|  | 18.96 | -1.8855 | 18.96 | -1.8855 | 2.0468 | -113.0625 | 2.0468 | -113.0625
|  | 18.9382 | -1.9056 | 18.9382 | -1.9056 | 2.0669 | -113.0625 | 2.0669 | -113.0625
|  | 18.9236 | -1.9256 | 18.9236 | -1.9256 | 2.087 | -113.0625 | 2.087 | -113.0625
|  | 18.9017 | -1.9469 | 18.9017 | -1.9469 | 2.107 | -113.0625 | 2.107 | -113.0625
|  | 18.8799 | -1.9694 | 18.8799 | -1.9694 | 2.1271 | -113.0625 | 2.1271 | -113.0625
|  | 18.8653 | -1.9882 | 18.8653 | -1.9882 | 2.1472 | -113.0625 | 2.1472 | -113.0625
|  | 18.8435 | -2.0094 | 18.8435 | -2.0094 | 2.1672 | -113.0625 | 2.1672 | -113.0625
|  | 18.8216 | -2.0294 | 18.8216 | -2.0294 | 2.1873 | -113.0625 | 2.1873 | -113.0625
|  | 18.807 | -2.0495 | 18.807 | -2.0495 | 2.2074 | -113.0625 | 2.2074 | -113.0625
|  | 18.7852 | -2.0707 | 18.7852 | -2.0707 | 2.2274 | -113.0625 | 2.2274 | -113.0625
|  | 18.7633 | -2.0908 | 18.7633 | -2.0908 | 2.2475 | -113.0625 | 2.2475 | -113.0625
|  | 18.7488 | -2.1108 | 18.7488 | -2.1108 | 2.2676 | -113.0625 | 2.2676 | -113.0625
|  | 18.7269 | -2.1321 | 18.7269 | -2.1321 | 2.2876 | -113.0625 | 2.2876 | -113.0625
|  | 18.7051 | -2.1521 | 18.7051 | -2.1521 | 2.3077 | -113.0625 | 2.3077 | -113.0625
|  | 18.6832 | -2.1734 | 18.6832 | -2.1734 | 2.3278 | -113.0625 | 2.3278 | -113.0625
|  | 18.6686 | -2.1946 | 18.6686 | -2.1946 | 2.3478 | -113.0625 | 2.3478 | -113.0625
|  | 18.6468 | -2.2146 | 18.6468 | -2.2146 | 2.3679 | -113.0625 | 2.3679 | -113.0625
|  | 18.6249 | -2.2359 | 18.6249 | -2.2359 | 2.388 | -113.0625 | 2.388 | -113.0625
|  | 18.6104 | -2.2559 | 18.6104 | -2.2559 | 2.408 | -113.0625 | 2.408 | -113.0625
|  | 18.5885 | -2.2747 | 18.5885 | -2.2747 | 2.4281 | -113.0625 | 2.4281 | -113.0625
|  | 18.5666 | -2.2972 | 18.5666 | -2.2972 | 2.4482 | -113.0625 | 2.4482 | -113.0625
|  | 18.5448 | -2.3173 | 18.5448 | -2.3173 | 2.4682 | -113.0625 | 2.4682 | -113.0625
|  | 18.5302 | -2.3385 | 18.5302 | -2.3385 | 2.4883 | -113.0625 | 2.4883 | -113.0625
|  | 18.5011 | -2.3586 | 18.5011 | -2.3586 | 2.5084 | -113.0625 | 2.5084 | -113.0625
|  | 18.4792 | -2.3786 | 18.4792 | -2.3786 | 2.5284 | -113.0625 | 2.5284 | -113.0625
|  | 18.4647 | -2.3973 | 18.4647 | -2.3973 | 2.5485 | -113.0625 | 2.5485 | -113.0625
|  | 18.4428 | -2.4186 | 18.4428 | -2.4186 | 2.5686 | -113.0625 | 2.5686 | -113.0625
|  | 18.4209 | -2.4386 | 18.4209 | -2.4386 | 2.5886 | -113.0625 | 2.5886 | -113.0625
|  | 18.3991 | -2.4599 | 18.3991 | -2.4599 | 2.6087 | -113.0625 | 2.6087 | -113.0625
|  | 18.3772 | -2.4799 | 18.3772 | -2.4799 | 2.6288 | -113.0625 | 2.6288 | -113.0625
|  | 18.3554 | -2.5 | 18.3554 | -2.5 | 2.6488 | -113.0625 | 2.6488 | -113.0625
|  | 18.3335 | -2.52 | 18.3335 | -2.52 | 2.6689 | -113.0625 | 2.6689 | -113.0625
|  | 18.319 | -2.5413 | 18.319 | -2.5413 | 2.689 | -113.0625 | 2.689 | -113.0625
|  | 18.2971 | -2.5625 | 18.2971 | -2.5625 | 2.709 | -113.0625 | 2.709 | -113.0625
|  | 18.268 | -2.5838 | 18.268 | -2.5838 | 2.7291 | -113.0625 | 2.7291 | -113.0625
|  | 18.2461 | -2.6026 | 18.2461 | -2.6026 | 2.7492 | -113.0625 | 2.7492 | -113.0625
|  | 18.2315 | -2.6238 | 18.2315 | -2.6238 | 2.7692 | -113.0625 | 2.7692 | -113.0625
|  | 18.2097 | -2.6451 | 18.2097 | -2.6451 | 2.7893 | -113.0625 | 2.7893 | -113.0625
|  | 18.1805 | -2.6651 | 18.1805 | -2.6651 | 2.8094 | -113.0625 | 2.8094 | -113.0625
|  | 18.1587 | -2.6852 | 18.1587 | -2.6852 | 2.8294 | -113.0625 | 2.8294 | -113.0625
|  | 18.1441 | -2.7052 | 18.1441 | -2.7052 | 2.8495 | -113.0625 | 2.8495 | -113.0625
|  | 18.1223 | -2.7265 | 18.1223 | -2.7265 | 2.8696 | -113.0625 | 2.8696 | -113.0625
|  | 18.0931 | -2.7465 | 18.0931 | -2.7465 | 2.8896 | -113.0625 | 2.8896 | -113.0625
|  | 18.0713 | -2.7677 | 18.0713 | -2.7677 | 2.9097 | -113.0625 | 2.9097 | -113.0625
|  | 18.0494 | -2.789 | 18.0494 | -2.789 | 2.9298 | -113.0625 | 2.9298 | -113.0625
|  | 18.0276 | -2.809 | 18.0276 | -2.809 | 2.9498 | -113.0625 | 2.9498 | -113.0625
|  | 18.0057 | -2.8303 | 18.0057 | -2.8303 | 2.9699 | -113.0625 | 2.9699 | -113.0625
|  | 17.9838 | -2.8503 | 17.9838 | -2.8503 | 2.99 | -113.0625 | 2.99 | -113.0625
|  | 17.962 | -2.8716 | 17.962 | -2.8716 | 3.01 | -113.0625 | 3.01 | -113.0625
|  | 17.9401 | -2.8904 | 17.9401 | -2.8904 | 3.0301 | -113.0625 | 3.0301 | -113.0625
|  | 17.911 | -2.9129 | 17.911 | -2.9129 | 3.0502 | -113.0625 | 3.0502 | -113.0625
|  | 17.8891 | -2.9329 | 17.8891 | -2.9329 | 3.0702 | -113.0625 | 3.0702 | -113.0625
|  | 17.8673 | -2.9529 | 17.8673 | -2.9529 | 3.0903 | -113.0625 | 3.0903 | -113.0625
|  | 17.8454 | -2.9742 | 17.8454 | -2.9742 | 3.1104 | -113.0625 | 3.1104 | -113.0625
|  | 17.8236 | -2.9942 | 17.8236 | -2.9942 | 3.1304 | -113.0625 | 3.1304 | -113.0625
|  | 17.7944 | -3.0155 | 17.7944 | -3.0155 | 3.1505 | -113.0625 | 3.1505 | -113.0625
|  | 17.7726 | -3.0355 | 17.7726 | -3.0355 | 3.1706 | -113.0625 | 3.1706 | -113.0625
|  | 17.7434 | -3.0568 | 17.7434 | -3.0568 | 3.1906 | -113.0625 | 3.1906 | -113.0625
|  | 17.7216 | -3.0768 | 17.7216 | -3.0768 | 3.2107 | -113.0625 | 3.2107 | -113.0625
|  | 17.6997 | -3.0981 | 17.6997 | -3.0981 | 3.2308 | -113.0625 | 3.2308 | -113.0625
|  | 17.6706 | -3.1181 | 17.6706 | -3.1181 | 3.2508 | -113.0625 | 3.2508 | -113.0625
|  | 17.6487 | -3.1381 | 17.6487 | -3.1381 | 3.2709 | -113.0625 | 3.2709 | -113.0625
|  | 17.6269 | -3.1594 | 17.6269 | -3.1594 | 3.291 | -113.0625 | 3.291 | -113.0625
|  | 17.5977 | -3.1794 | 17.5977 | -3.1794 | 3.311 | -113.0625 | 3.311 | -113.0625
|  | 17.5686 | -3.202 | 17.5686 | -3.202 | 3.3311 | -113.0625 | 3.3311 | -113.0625
|  | 17.5468 | -3.222 | 17.5468 | -3.222 | 3.3512 | -113.0625 | 3.3512 | -113.0625
|  | 17.5176 | -3.242 | 17.5176 | -3.242 | 3.3712 | -113.0625 | 3.3712 | -113.0625
|  | 17.4958 | -3.262 | 17.4958 | -3.262 | 3.3913 | -113.0625 | 3.3913 | -113.0625
|  | 17.4739 | -3.2821 | 17.4739 | -3.2821 | 3.4114 | -113.0625 | 3.4114 | -113.0625
|  | 17.4448 | -3.3033 | 17.4448 | -3.3033 | 3.4314 | -113.0625 | 3.4314 | -113.0625
|  | 17.4156 | -3.3233 | 17.4156 | -3.3233 | 3.4515 | -113.0625 | 3.4515 | -113.0625
|  | 17.3865 | -3.3446 | 17.3865 | -3.3446 | 3.4716 | -113.0625 | 3.4716 | -113.0625
|  | 17.3646 | -3.3646 | 17.3646 | -3.3646 | 3.4916 | -113.0625 | 3.4916 | -113.0625
|  | 17.3355 | -3.3859 | 17.3355 | -3.3859 | 3.5117 | -113.0625 | 3.5117 | -113.0625
|  | 17.3063 | -3.4059 | 17.3063 | -3.4059 | 3.5318 | -113.0625 | 3.5318 | -113.0625
|  | 17.2772 | -3.4272 | 17.2772 | -3.4272 | 3.5518 | -113.0625 | 3.5518 | -113.0625
|  | 17.2481 | -3.4485 | 17.2481 | -3.4485 | 3.5719 | -113.0625 | 3.5719 | -113.0625
|  | 17.2189 | -3.4685 | 17.2189 | -3.4685 | 3.592 | -113.0625 | 3.592 | -113.0625
|  | 17.1971 | -3.4885 | 17.1971 | -3.4885 | 3.612 | -113.0625 | 3.612 | -113.0625
|  | 17.1679 | -3.5085 | 17.1679 | -3.5085 | 3.6321 | -113.0625 | 3.6321 | -113.0625
|  | 17.1388 | -3.5298 | 17.1388 | -3.5298 | 3.6522 | -113.0625 | 3.6522 | -113.0625
|  | 17.1097 | -3.5511 | 17.1097 | -3.5511 | 3.6722 | -113.0625 | 3.6722 | -113.0625
|  | 17.0805 | -3.5711 | 17.0805 | -3.5711 | 3.6923 | -113.0625 | 3.6923 | -113.0625
|  | 17.0514 | -3.5911 | 17.0514 | -3.5911 | 3.7124 | -113.0625 | 3.7124 | -113.0625
|  | 17.0222 | -3.6124 | 17.0222 | -3.6124 | 3.7324 | -113.0625 | 3.7324 | -113.0625
|  | 16.9931 | -3.6324 | 16.9931 | -3.6324 | 3.7525 | -113.0625 | 3.7525 | -113.0625
|  | 16.9567 | -3.6537 | 16.9567 | -3.6537 | 3.7726 | -113.0625 | 3.7726 | -113.0625
|  | 16.9275 | -3.6737 | 16.9275 | -3.6737 | 3.7926 | -113.0625 | 3.7926 | -113.0625
|  | 16.8984 | -3.6937 | 16.8984 | -3.6937 | 3.8127 | -113.0625 | 3.8127 | -113.0625
|  | 16.8693 | -3.7138 | 16.8693 | -3.7138 | 3.8328 | -113.0625 | 3.8328 | -113.0625
|  | 16.8401 | -3.735 | 16.8401 | -3.735 | 3.8528 | -113.0625 | 3.8528 | -113.0625
|  | 16.811 | -3.7551 | 16.811 | -3.7551 | 3.8729 | -113.0625 | 3.8729 | -113.0625
|  | 16.7745 | -3.7763 | 16.7745 | -3.7763 | 3.893 | -113.0625 | 3.893 | -113.0625
|  | 16.7381 | -3.7964 | 16.7381 | -3.7964 | 3.913 | -113.0625 | 3.913 | -113.0625
|  | 16.709 | -3.8189 | 16.709 | -3.8189 | 3.9331 | -113.0625 | 3.9331 | -113.0625
|  | 16.6726 | -3.8377 | 16.6726 | -3.8377 | 3.9532 | -113.0625 | 3.9532 | -113.0625
|  | 16.6361 | -3.8577 | 16.6361 | -3.8577 | 3.9732 | -113.0625 | 3.9732 | -113.0625
|  | 16.607 | -3.8789 | 16.607 | -3.8789 | 3.9933 | -113.0625 | 3.9933 | -113.0625
|  | 16.5706 | -3.9002 | 16.5706 | -3.9002 | 4.0134 | -113.0625 | 4.0134 | -113.0625
|  | 16.5341 | -3.9202 | 16.5341 | -3.9202 | 4.0334 | -113.0625 | 4.0334 | -113.0625
|  | 16.4977 | -3.9403 | 16.4977 | -3.9403 | 4.0535 | -113.0625 | 4.0535 | -113.0625
|  | 16.4613 | -3.9615 | 16.4613 | -3.9615 | 4.0736 | -113.0625 | 4.0736 | -113.0625
|  | 16.4322 | -3.9816 | 16.4322 | -3.9816 | 4.0936 | -113.0625 | 4.0936 | -113.0625
|  | 16.3884 | -4.0028 | 16.3884 | -4.0028 | 4.1137 | -113.0625 | 4.1137 | -113.0625
|  | 16.352 | -4.0229 | 16.352 | -4.0229 | 4.1338 | -113.0625 | 4.1338 | -113.0625
|  | 16.3156 | -4.0429 | 16.3156 | -4.0429 | 4.1538 | -113.0625 | 4.1538 | -113.0625
|  | 16.2792 | -4.0654 | 16.2792 | -4.0654 | 4.1739 | -113.0625 | 4.1739 | -113.0625
|  | 16.2355 | -4.0854 | 16.2355 | -4.0854 | 4.194 | -113.0625 | 4.194 | -113.0625
|  | 16.199 | -4.1054 | 16.199 | -4.1054 | 4.214 | -113.0625 | 4.214 | -113.0625
|  | 16.1553 | -4.1255 | 16.1553 | -4.1255 | 4.2341 | -113.0625 | 4.2341 | -113.0625
|  | 16.1116 | -4.1467 | 16.1116 | -4.1467 | 4.2542 | -113.0625 | 4.2542 | -113.0625
|  | 16.0752 | -4.1668 | 16.0752 | -4.1668 | 4.2742 | -113.0625 | 4.2742 | -113.0625
|  | 16.0315 | -4.188 | 16.0315 | -4.188 | 4.2943 | -113.0625 | 4.2943 | -113.0625
|  | 15.9878 | -4.2081 | 15.9878 | -4.2081 | 4.3144 | -113.0625 | 4.3144 | -113.0625
|  | 15.9368 | -4.2293 | 15.9368 | -4.2293 | 4.3344 | -113.0625 | 4.3344 | -113.0625
|  | 15.8931 | -4.2506 | 15.8931 | -4.2506 | 4.3545 | -113.0625 | 4.3545 | -113.0625
|  | 15.8494 | -4.2706 | 15.8494 | -4.2706 | 4.3746 | -113.0625 | 4.3746 | -113.0625
|  | 15.7984 | -4.2906 | 15.7984 | -4.2906 | 4.3946 | -113.0625 | 4.3946 | -113.0625
|  | 15.7547 | -4.3119 | 15.7547 | -4.3119 | 4.4147 | -113.0625 | 4.4147 | -113.0625
|  | 15.7037 | -4.3319 | 15.7037 | -4.3319 | 4.4348 | -113.0625 | 4.4348 | -113.0625
|  | 15.6527 | -4.3532 | 15.6527 | -4.3532 | 4.4548 | -113.0625 | 4.4548 | -113.0625
|  | 15.6017 | -4.372 | 15.6017 | -4.372 | 4.4749 | -113.0625 | 4.4749 | -113.0625
|  | 15.5507 | -4.3933 | 15.5507 | -4.3933 | 4.495 | -113.0625 | 4.495 | -113.0625
|  | 15.4924 | -4.4145 | 15.4924 | -4.4145 | 4.5151 | -113.0625 | 4.5151 | -113.0625
|  | 15.4341 | -4.4371 | 15.4341 | -4.4371 | 4.5351 | -113.0625 | 4.5351 | -113.0625
|  | 15.3758 | -4.4558 | 15.3758 | -4.4558 | 4.5552 | -113.0625 | 4.5552 | -113.0625
|  | 15.3176 | -4.4771 | 15.3176 | -4.4771 | 4.5753 | -113.0625 | 4.5753 | -113.0625
|  | 15.2593 | -4.4971 | 15.2593 | -4.4971 | 4.5953 | -113.0625 | 4.5953 | -113.0625
|  | 15.1937 | -4.5171 | 15.1937 | -4.5171 | 4.6154 | -113.0625 | 4.6154 | -113.0625
|  | 15.1209 | -4.5384 | 15.1209 | -4.5384 | 4.6355 | -113.0625 | 4.6355 | -113.0625
|  | 15.048 | -4.5584 | 15.048 | -4.5584 | 4.6555 | -113.0625 | 4.6555 | -113.0625
|  | 14.9752 | -4.5797 | 14.9752 | -4.5797 | 4.6756 | -113.0625 | 4.6756 | -113.0625
|  | 14.9023 | -4.5997 | 14.9023 | -4.5997 | 4.6957 | -113.0625 | 4.6957 | -113.0625
|  | 14.8295 | -4.6198 | 14.8295 | -4.6198 | 4.7157 | -113.0625 | 4.7157 | -113.0625
|  | 14.7421 | -4.641 | 14.7421 | -4.641 | 4.7358 | -113.0625 | 4.7358 | -113.0625
|  | 14.6619 | -4.6623 | 14.6619 | -4.6623 | 4.7559 | -113.0625 | 4.7559 | -113.0625
|  | 14.5672 | -4.6823 | 14.5672 | -4.6823 | 4.7759 | -113.0625 | 4.7759 | -113.0625
|  | 14.4725 | -4.7036 | 14.4725 | -4.7036 | 4.796 | -113.0625 | 4.796 | -113.0625
|  | 14.3705 | -4.7236 | 14.3705 | -4.7236 | 4.8161 | -113.0625 | 4.8161 | -113.0625
|  | 14.2612 | -4.7424 | 14.2612 | -4.7424 | 4.8361 | -113.0625 | 4.8361 | -113.0625
|  | 14.1301 | -4.7649 | 14.1301 | -4.7649 | 4.8562 | -113.0625 | 4.8562 | -113.0625
|  | 13.9917 | -4.7849 | 13.9917 | -4.7849 | 4.8763 | -113.0625 | 4.8763 | -113.0625
|  | 13.8242 | -4.8062 | 13.8242 | -4.8062 | 4.8963 | -113.0625 | 4.8963 | -113.0625
|  | 13.642 | -4.8262 | 13.642 | -4.8262 | 4.9164 | -113.0625 | 4.9164 | -113.0625
|  | 13.3142 | -4.8462 | 13.3142 | -4.8462 | 4.9365 | -113.0625 | 4.9365 | -113.0625
|  | 12.6294 | -4.8688 | 12.6294 | -4.8688 | 4.9565 | -113.0625 | 4.9565 | -113.0625
|  | 11.7917 | -4.89 | 11.7917 | -4.89 | 4.9766 | -113.0625 | 4.9766 | -113.0625
|  | 10.7135 | -4.9101 | 10.7135 | -4.9101 | 4.9967 | -113.0625 | 4.9967 | -113.0625
|  | 9.0962 | -4.9313 | 9.0962 | -4.9313 | 5.0167 | -113.0625 | 5.0167 | -113.0625
|  | 7.0492 | -4.9514 | 7.0492 | -4.9514 | 5.0368 | -113.0625 | 5.0368 | -113.0625
|  | 4.9803 | -4.9726 | 4.9803 | -4.9726 | 5.0569 | -113.0625 | 5.0569 | -113.0625
|  | 2.1246 | -4.9927 | 2.1246 | -4.9927 | 5.0769 | -113.0625 | 5.0769 | -113.0625
|  | 0.53645 | -5.0114 | 0.53645 | -5.0114 | 5.097 | -113.0625 | 5.097 | -113.0625
|  | -0.78941 | -5.0314 | -0.78941 | -5.0314 | 5.1171 | -113.0625 | 5.1171 | -113.0625
|  | -1.5106 | -5.0515 | -1.5106 | -5.0515 | 5.1371 | -113.0625 | 5.1371 | -113.0625
|  | -1.5689 | -5.0715 | -1.5689 | -5.0715 | 5.1572 | -113.0625 | 5.1572 | -113.0625
|  | -1.5908 | -5.0915 | -1.5908 | -5.0915 | 5.1773 | -113.0625 | 5.1773 | -113.0625
|  | -1.6126 | -5.1128 | -1.6126 | -5.1128 | 5.1973 | -113.0625 | 5.1973 | -113.0625
|  | -1.6345 | -5.1328 | -1.6345 | -5.1328 | 5.2174 | -113.0625 | 5.2174 | -113.0625
|  | -1.6417 | -5.1528 | -1.6417 | -5.1528 | 5.2375 | -113.0625 | 5.2375 | -113.0625
|  | -1.6563 | -5.1741 | -1.6563 | -5.1741 | 5.2575 | -113.0625 | 5.2575 | -113.0625
|  | -1.6709 | -5.1941 | -1.6709 | -5.1941 | 5.2776 | -113.0625 | 5.2776 | -113.0625
|  | -1.6782 | -5.2154 | -1.6782 | -5.2154 | 5.2977 | -113.0625 | 5.2977 | -113.0625
|  | -1.6927 | -5.2354 | -1.6927 | -5.2354 | 5.3177 | -113.0625 | 5.3177 | -113.0625
|  | -1.6927 | -5.2567 | -1.6927 | -5.2567 | 5.3378 | -113.0625 | 5.3378 | -113.0625
|  | -1.7073 | -5.2767 | -1.7073 | -5.2767 | 5.3579 | -113.0625 | 5.3579 | -113.0625
|  | -1.7146 | -5.298 | -1.7146 | -5.298 | 5.3779 | -113.0625 | 5.3779 | -113.0625
|  | -1.7219 | -5.3193 | -1.7219 | -5.3193 | 5.398 | -113.0625 | 5.398 | -113.0625
|  | -1.7292 | -5.3393 | -1.7292 | -5.3393 | 5.4181 | -113.0625 | 5.4181 | -113.0625
|  | -1.7292 | -5.3581 | -1.7292 | -5.3581 | 5.4381 | -113.0625 | 5.4381 | -113.0625
|  | -1.7437 | -5.3793 | -1.7437 | -5.3793 | 5.4582 | -113.0625 | 5.4582 | -113.0625
|  | -1.751 | -5.4006 | -1.751 | -5.4006 | 5.4783 | -113.0625 | 5.4783 | -113.0625
|  | -1.751 | -5.4206 | -1.751 | -5.4206 | 5.4983 | -113.0625 | 5.4983 | -113.0625
|  | -1.7583 | -5.4419 | -1.7583 | -5.4419 | 5.5184 | -113.0625 | 5.5184 | -113.0625
|  | -1.7656 | -5.4632 | -1.7656 | -5.4632 | 5.5385 | -113.0625 | 5.5385 | -113.0625
|  | -1.7729 | -5.4832 | -1.7729 | -5.4832 | 5.5585 | -113.0625 | 5.5585 | -113.0625
|  | -1.7729 | -5.5032 | -1.7729 | -5.5032 | 5.5786 | -113.0625 | 5.5786 | -113.0625
|  | -1.7802 | -5.5245 | -1.7802 | -5.5245 | 5.5987 | -113.0625 | 5.5987 | -113.0625
|  | -1.7874 | -5.5445 | -1.7874 | -5.5445 | 5.6187 | -113.0625 | 5.6187 | -113.0625
|  | -1.7874 | -5.5658 | -1.7874 | -5.5658 | 5.6388 | -113.0625 | 5.6388 | -113.0625
|  | -1.7947 | -5.5858 | -1.7947 | -5.5858 | 5.6589 | -113.0625 | 5.6589 | -113.0625
|  | -1.802 | -5.6058 | -1.802 | -5.6058 | 5.6789 | -113.0625 | 5.6789 | -113.0625
|  | -1.802 | -5.6271 | -1.802 | -5.6271 | 5.699 | -113.0625 | 5.699 | -113.0625
|  | -1.8093 | -5.6484 | -1.8093 | -5.6484 | 5.7191 | -113.0625 | 5.7191 | -113.0625
|  | -1.8093 | -5.6696 | -1.8093 | -5.6696 | 5.7391 | -113.0625 | 5.7391 | -113.0625
|  | -1.8166 | -5.6897 | -1.8166 | -5.6897 | 5.7592 | -113.0625 | 5.7592 | -113.0625
|  | -1.8166 | -5.7097 | -1.8166 | -5.7097 | 5.7793 | -113.0625 | 5.7793 | -113.0625
|  | -1.8239 | -5.7297 | -1.8239 | -5.7297 | 5.7993 | -113.0625 | 5.7993 | -113.0625
|  | -1.8239 | -5.751 | -1.8239 | -5.751 | 5.8194 | -113.0625 | 5.8194 | -113.0625
|  | -1.8312 | -5.771 | -1.8312 | -5.771 | 5.8395 | -113.0625 | 5.8395 | -113.0625
|  | -1.8384 | -5.7923 | -1.8384 | -5.7923 | 5.8595 | -113.0625 | 5.8595 | -113.0625
|  | -1.8384 | -5.8123 | -1.8384 | -5.8123 | 5.8796 | -113.0625 | 5.8796 | -113.0625
|  | -1.8457 | -5.8323 | -1.8457 | -5.8323 | 5.8997 | -113.0625 | 5.8997 | -113.0625
|  | -1.8457 | -5.8536 | -1.8457 | -5.8536 | 5.9197 | -113.0625 | 5.9197 | -113.0625
|  | -1.853 | -5.8749 | -1.853 | -5.8749 | 5.9398 | -113.0625 | 5.9398 | -113.0625
|  | -1.853 | -5.8949 | -1.853 | -5.8949 | 5.9599 | -113.0625 | 5.9599 | -113.0625
|  | -1.8603 | -5.9162 | -1.8603 | -5.9162 | 5.9799 | -113.0625 | 5.9799 | -113.0625
|  | -1.8676 | -5.9374 | -1.8676 | -5.9374 | 6 | -113.0625 | 6 | -113.0625

## Celltype
Cell type
Name | Bosch
Parameter | Value | Unit
Base Doping | p-type
Cell Area | 6095.35 | cm2
α (Current Coeff.) | 0 | mA/(K*cm2)
β (Voltage Coeff.) | 0 | mV/K
κ (IV Curve Corr.) | 0 | Ohm*cm2/K
Temperature Sensor | Fixed Temperature(25°C)
IatV_D1: at Voltage | -8000 | mV
IatV_D2: at Voltage | -12000 | mV
IatV_D3: at Voltage | -14000 | mV
Rp: Start Voltage | -1000 | mV
Rp: End Voltage | 1000 | mV
Rp adjustment: Slope | 1
Rp adjustment: Offset | 0
VrevMin: Current Limit | -16 | A
IatV_L1: at Voltage | 500 | mV
IatV_L2: at Voltage | 400 | mV
IatV_L3: at Voltage | 600 | mV
Curve Optimization (light steps) | disabled
Comment | no comment