## IV-Summary
IV-Summary |  | Step Name | newstep 1 |  | Step Name | newstep 1 |  | Step Name | newstep 1
Serial Number | sn18446244078557456230 | Input Parameters |  |  | Data series | IV Curve |  | Data series | Raw IV Data
Start Time | 2024-06-14 13:56
Comment |  | Parameter | Value | Unit | Parameter | Value | Unit | Parameter | Value | Unit
Lot |  | StepType | voltage_sweep_standard |  | Isc | 2.5783 | A | Isc | 2.5783 | A
Recipe | AM 1.5G | StartVoltage | 0 | V | Voc | 19.4955 | V | Voc | 19.4955 | V
User | engineer | EndVoltage | 6 | V | FF | 70.4741 | % | FF | 70.4741 | %
User Groups | Engineer | MeasurementTime | 200 | ms | Vmpp | 15.1884 | V | Vmpp | 15.1884 | V
Master Device | IV | SampleCount | 300 |  | Impp | 2.3323 | A | Impp | 2.3323 | A
Started by | LabStatusLine (button start) | PreMeasurementDelay | 2000 | ms | Pmpp | 35.4242 | W | Pmpp | 35.4242 | W
Version | SinusGUI v2.526 b01 (b7453.24232#32) | MinSettlingTime | 50 | µs | Idmpp |  | A | Idmpp |  | A
Save Time | 2024-06-14 13:57 | IntensityCorrection | no |  | ETA | 11.6234 | % | ETA | 11.6234 | %
Cell Type | Bosch | TemperatureCorrection | no |  | IatV_L1_current |  | A | IatV_L1_current |  | A
Line Resistance [mOhm] | 0 | CurrentAmplifier | low |  | IatV_L1_voltage | 0.5 | V | IatV_L1_voltage | 0.5 | V
Firmware | 1.07.21 (1#[Release4Bootloader_Outdoor]2#[Mar 29 2019]3#[14:36:23]) | VoltageAmplifier | low |  | IatV_L2_current |  | A | IatV_L2_current |  | A
FPGA | T2-10.2 | DataPointDistribution | linear |  | IatV_L2_voltage | 0.4 | V | IatV_L2_voltage | 0.4 | V
[5 empty] | IatV_L3_current |  | A | IatV_L3_current |  | A
[5 empty] | IatV_L3_voltage | 0.6 | V | IatV_L3_voltage | 0.6 | V
[5 empty] | Area | 6095.35 | cm2 | Area | 6095.35 | cm2
[5 empty] | Temperature | 25 | °C | Temperature | 25 | °C
[5 empty] | Ifor05 |  | A | Ifor05 |  | A

## IV-Raw
IV-Raw |  | Step Name | newstep 1 | Step Name | newstep 1 | Step Name | newstep 1 | Step Name | newstep 1
Serial Number | sn18446244078557456230 | Data series | IV Curve | Data series | Raw IV Data | Data series | Intensity (raw data) | Data series | Intensity
Start Time | 2024-06-14 13:56
Comment |  | Voltage [V] | Current [A] | Voltage [V] | Current [A] | Set Voltage [V] | E | Set Voltage [V] | E
Lot |  | 19.4991 | 0.0077584 | 19.4991 | 0.0077584 | 0 | -113.0625 | 0 | -113.0625
Recipe | AM 1.5G | 19.4991 | 0.0077584 | 19.4991 | 0.0077584 | 0.020067 | -113.0625 | 0.020067 | -113.0625
User | engineer | 19.4991 | 0.006507 | 19.4991 | 0.006507 | 0.040134 | -113.0625 | 0.040134 | -113.0625
User Groups | Engineer | 19.4991 | 0.0077584 | 19.4991 | 0.0077584 | 0.060201 | -113.0625 | 0.060201 | -113.0625
Master Device | IV | 19.4991 | 0.0077584 | 19.4991 | 0.0077584 | 0.080268 | -113.0625 | 0.080268 | -113.0625
Started by | LabStatusLine (button start) | 19.4991 | 0.0077584 | 19.4991 | 0.0077584 | 0.10033 | -113.0625 | 0.10033 | -113.0625
Version | SinusGUI v2.526 b01 (b7453.24232#32) | 19.4991 | 0.006507 | 19.4991 | 0.006507 | 0.1204 | -113.0625 | 0.1204 | -113.0625
Save Time | 2024-06-14 13:57 | 19.4991 | 0.006507 | 19.4991 | 0.006507 | 0.14047 | -113.0625 | 0.14047 | -113.0625
Cell Type | Bosch | 19.4991 | 0.0077584 | 19.4991 | 0.0077584 | 0.16054 | -113.0625 | 0.16054 | -113.0625
Line Resistance [mOhm] | 0 | 19.4991 | 0.0077584 | 19.4991 | 0.0077584 | 0.1806 | -113.0625 | 0.1806 | -113.0625
Firmware | 1.07.21 (1#[Release4Bootloader_Outdoor]2#[Mar 29 2019]3#[14:36:23]) | 19.4991 | 0.006507 | 19.4991 | 0.006507 | 0.20067 | -113.0625 | 0.20067 | -113.0625
FPGA | T2-10.2 | 19.4991 | 0.006507 | 19.4991 | 0.006507 | 0.22074 | -113.0625 | 0.22074 | -113.0625
|  | 19.4991 | 0.006507 | 19.4991 | 0.006507 | 0.2408 | -113.0625 | 0.2408 | -113.0625
|  | 19.4991 | 0.006507 | 19.4991 | 0.006507 | 0.26087 | -113.0625 | 0.26087 | -113.0625
|  | 19.4918 | -0.0010011 | 19.4918 | -0.0010011 | 0.28094 | -113.0625 | 0.28094 | -113.0625
|  | 19.4481 | -0.049804 | 19.4481 | -0.049804 | 0.301 | -113.0625 | 0.301 | -113.0625
|  | 19.3898 | -0.10737 | 19.3898 | -0.10737 | 0.32107 | -113.0625 | 0.32107 | -113.0625
|  | 19.3607 | -0.13364 | 19.3607 | -0.13364 | 0.34114 | -113.0625 | 0.34114 | -113.0625
|  | 19.3388 | -0.15492 | 19.3388 | -0.15492 | 0.3612 | -113.0625 | 0.3612 | -113.0625
|  | 19.317 | -0.17619 | 19.317 | -0.17619 | 0.38127 | -113.0625 | 0.38127 | -113.0625
|  | 19.2878 | -0.19872 | 19.2878 | -0.19872 | 0.40134 | -113.0625 | 0.40134 | -113.0625
|  | 19.2733 | -0.21874 | 19.2733 | -0.21874 | 0.4214 | -113.0625 | 0.4214 | -113.0625
|  | 19.2514 | -0.23876 | 19.2514 | -0.23876 | 0.44147 | -113.0625 | 0.44147 | -113.0625
|  | 19.2296 | -0.26003 | 19.2296 | -0.26003 | 0.46154 | -113.0625 | 0.46154 | -113.0625
|  | 19.2077 | -0.2813 | 19.2077 | -0.2813 | 0.48161 | -113.0625 | 0.48161 | -113.0625
|  | 19.1859 | -0.30258 | 19.1859 | -0.30258 | 0.50167 | -113.0625 | 0.50167 | -113.0625
|  | 19.164 | -0.3226 | 19.164 | -0.3226 | 0.52174 | -113.0625 | 0.52174 | -113.0625
|  | 19.1422 | -0.34262 | 19.1422 | -0.34262 | 0.54181 | -113.0625 | 0.54181 | -113.0625
|  | 19.1203 | -0.36264 | 19.1203 | -0.36264 | 0.56187 | -113.0625 | 0.56187 | -113.0625
|  | 19.0984 | -0.38392 | 19.0984 | -0.38392 | 0.58194 | -113.0625 | 0.58194 | -113.0625
|  | 19.0766 | -0.40519 | 19.0766 | -0.40519 | 0.60201 | -113.0625 | 0.60201 | -113.0625
|  | 19.0547 | -0.42521 | 19.0547 | -0.42521 | 0.62207 | -113.0625 | 0.62207 | -113.0625
|  | 19.0256 | -0.44648 | 19.0256 | -0.44648 | 0.64214 | -113.0625 | 0.64214 | -113.0625
|  | 19.0037 | -0.46776 | 19.0037 | -0.46776 | 0.66221 | -113.0625 | 0.66221 | -113.0625
|  | 18.9819 | -0.48778 | 18.9819 | -0.48778 | 0.68227 | -113.0625 | 0.68227 | -113.0625
|  | 18.96 | -0.50655 | 18.96 | -0.50655 | 0.70234 | -113.0625 | 0.70234 | -113.0625
|  | 18.9382 | -0.52907 | 18.9382 | -0.52907 | 0.72241 | -113.0625 | 0.72241 | -113.0625
|  | 18.909 | -0.54909 | 18.909 | -0.54909 | 0.74247 | -113.0625 | 0.74247 | -113.0625
|  | 18.8872 | -0.57037 | 18.8872 | -0.57037 | 0.76254 | -113.0625 | 0.76254 | -113.0625
|  | 18.8653 | -0.59039 | 18.8653 | -0.59039 | 0.78261 | -113.0625 | 0.78261 | -113.0625
|  | 18.8435 | -0.61041 | 18.8435 | -0.61041 | 0.80268 | -113.0625 | 0.80268 | -113.0625
|  | 18.8216 | -0.63168 | 18.8216 | -0.63168 | 0.82274 | -113.0625 | 0.82274 | -113.0625
|  | 18.7925 | -0.65296 | 18.7925 | -0.65296 | 0.84281 | -113.0625 | 0.84281 | -113.0625
|  | 18.7706 | -0.67298 | 18.7706 | -0.67298 | 0.86288 | -113.0625 | 0.86288 | -113.0625
|  | 18.7488 | -0.693 | 18.7488 | -0.693 | 0.88294 | -113.0625 | 0.88294 | -113.0625
|  | 18.7269 | -0.71427 | 18.7269 | -0.71427 | 0.90301 | -113.0625 | 0.90301 | -113.0625
|  | 18.6978 | -0.73429 | 18.6978 | -0.73429 | 0.92308 | -113.0625 | 0.92308 | -113.0625
|  | 18.6759 | -0.75432 | 18.6759 | -0.75432 | 0.94314 | -113.0625 | 0.94314 | -113.0625
|  | 18.6468 | -0.77559 | 18.6468 | -0.77559 | 0.96321 | -113.0625 | 0.96321 | -113.0625
|  | 18.6249 | -0.79561 | 18.6249 | -0.79561 | 0.98328 | -113.0625 | 0.98328 | -113.0625
|  | 18.5958 | -0.81814 | 18.5958 | -0.81814 | 1.0033 | -113.0625 | 1.0033 | -113.0625
|  | 18.5739 | -0.83816 | 18.5739 | -0.83816 | 1.0234 | -113.0625 | 1.0234 | -113.0625
|  | 18.5448 | -0.85818 | 18.5448 | -0.85818 | 1.0435 | -113.0625 | 1.0435 | -113.0625
|  | 18.5229 | -0.87945 | 18.5229 | -0.87945 | 1.0635 | -113.0625 | 1.0635 | -113.0625
|  | 18.4938 | -0.89947 | 18.4938 | -0.89947 | 1.0836 | -113.0625 | 1.0836 | -113.0625
|  | 18.4719 | -0.9195 | 18.4719 | -0.9195 | 1.1037 | -113.0625 | 1.1037 | -113.0625
|  | 18.4428 | -0.94077 | 18.4428 | -0.94077 | 1.1237 | -113.0625 | 1.1237 | -113.0625
|  | 18.4137 | -0.96079 | 18.4137 | -0.96079 | 1.1438 | -113.0625 | 1.1438 | -113.0625
|  | 18.3845 | -0.98206 | 18.3845 | -0.98206 | 1.1639 | -113.0625 | 1.1639 | -113.0625
|  | 18.3627 | -1.0021 | 18.3627 | -1.0021 | 1.1839 | -113.0625 | 1.1839 | -113.0625
|  | 18.3335 | -1.0221 | 18.3335 | -1.0221 | 1.204 | -113.0625 | 1.204 | -113.0625
|  | 18.3044 | -1.0434 | 18.3044 | -1.0434 | 1.2241 | -113.0625 | 1.2241 | -113.0625
|  | 18.2752 | -1.0647 | 18.2752 | -1.0647 | 1.2441 | -113.0625 | 1.2441 | -113.0625
|  | 18.2461 | -1.0847 | 18.2461 | -1.0847 | 1.2642 | -113.0625 | 1.2642 | -113.0625
|  | 18.2242 | -1.1047 | 18.2242 | -1.1047 | 1.2843 | -113.0625 | 1.2843 | -113.0625
|  | 18.1951 | -1.1222 | 18.1951 | -1.1222 | 1.3043 | -113.0625 | 1.3043 | -113.0625
|  | 18.166 | -1.1435 | 18.166 | -1.1435 | 1.3244 | -113.0625 | 1.3244 | -113.0625
|  | 18.1368 | -1.1635 | 18.1368 | -1.1635 | 1.3445 | -113.0625 | 1.3445 | -113.0625
|  | 18.1077 | -1.1848 | 18.1077 | -1.1848 | 1.3645 | -113.0625 | 1.3645 | -113.0625
|  | 18.0786 | -1.2048 | 18.0786 | -1.2048 | 1.3846 | -113.0625 | 1.3846 | -113.0625
|  | 18.0494 | -1.2261 | 18.0494 | -1.2261 | 1.4047 | -113.0625 | 1.4047 | -113.0625
|  | 18.0203 | -1.2461 | 18.0203 | -1.2461 | 1.4247 | -113.0625 | 1.4247 | -113.0625
|  | 17.9838 | -1.2674 | 17.9838 | -1.2674 | 1.4448 | -113.0625 | 1.4448 | -113.0625
|  | 17.9547 | -1.2886 | 17.9547 | -1.2886 | 1.4649 | -113.0625 | 1.4649 | -113.0625
|  | 17.9256 | -1.3087 | 17.9256 | -1.3087 | 1.4849 | -113.0625 | 1.4849 | -113.0625
|  | 17.8891 | -1.3287 | 17.8891 | -1.3287 | 1.505 | -113.0625 | 1.505 | -113.0625
|  | 17.86 | -1.35 | 17.86 | -1.35 | 1.5251 | -113.0625 | 1.5251 | -113.0625
|  | 17.8309 | -1.37 | 17.8309 | -1.37 | 1.5452 | -113.0625 | 1.5452 | -113.0625
|  | 17.8017 | -1.39 | 17.8017 | -1.39 | 1.5652 | -113.0625 | 1.5652 | -113.0625
|  | 17.7653 | -1.4113 | 17.7653 | -1.4113 | 1.5853 | -113.0625 | 1.5853 | -113.0625
|  | 17.7216 | -1.4338 | 17.7216 | -1.4338 | 1.6054 | -113.0625 | 1.6054 | -113.0625
|  | 17.6924 | -1.4538 | 17.6924 | -1.4538 | 1.6254 | -113.0625 | 1.6254 | -113.0625
|  | 17.6633 | -1.4726 | 17.6633 | -1.4726 | 1.6455 | -113.0625 | 1.6455 | -113.0625
|  | 17.6269 | -1.4939 | 17.6269 | -1.4939 | 1.6656 | -113.0625 | 1.6656 | -113.0625
|  | 17.5905 | -1.5139 | 17.5905 | -1.5139 | 1.6856 | -113.0625 | 1.6856 | -113.0625
|  | 17.554 | -1.5352 | 17.554 | -1.5352 | 1.7057 | -113.0625 | 1.7057 | -113.0625
|  | 17.5176 | -1.5552 | 17.5176 | -1.5552 | 1.7258 | -113.0625 | 1.7258 | -113.0625
|  | 17.4812 | -1.5752 | 17.4812 | -1.5752 | 1.7458 | -113.0625 | 1.7458 | -113.0625
|  | 17.4448 | -1.5965 | 17.4448 | -1.5965 | 1.7659 | -113.0625 | 1.7659 | -113.0625
|  | 17.4083 | -1.6165 | 17.4083 | -1.6165 | 1.786 | -113.0625 | 1.786 | -113.0625
|  | 17.3646 | -1.6378 | 17.3646 | -1.6378 | 1.806 | -113.0625 | 1.806 | -113.0625
|  | 17.3282 | -1.659 | 17.3282 | -1.659 | 1.8261 | -113.0625 | 1.8261 | -113.0625
|  | 17.2845 | -1.6791 | 17.2845 | -1.6791 | 1.8462 | -113.0625 | 1.8462 | -113.0625
|  | 17.2481 | -1.7003 | 17.2481 | -1.7003 | 1.8662 | -113.0625 | 1.8662 | -113.0625
|  | 17.2116 | -1.7204 | 17.2116 | -1.7204 | 1.8863 | -113.0625 | 1.8863 | -113.0625
|  | 17.1679 | -1.7391 | 17.1679 | -1.7391 | 1.9064 | -113.0625 | 1.9064 | -113.0625
|  | 17.1242 | -1.7604 | 17.1242 | -1.7604 | 1.9264 | -113.0625 | 1.9264 | -113.0625
|  | 17.0732 | -1.7817 | 17.0732 | -1.7817 | 1.9465 | -113.0625 | 1.9465 | -113.0625
|  | 17.0368 | -1.8017 | 17.0368 | -1.8017 | 1.9666 | -113.0625 | 1.9666 | -113.0625
|  | 16.9858 | -1.823 | 16.9858 | -1.823 | 1.9866 | -113.0625 | 1.9866 | -113.0625
|  | 16.9421 | -1.8442 | 16.9421 | -1.8442 | 2.0067 | -113.0625 | 2.0067 | -113.0625
|  | 16.8911 | -1.8643 | 16.8911 | -1.8643 | 2.0268 | -113.0625 | 2.0268 | -113.0625
|  | 16.8401 | -1.8855 | 16.8401 | -1.8855 | 2.0468 | -113.0625 | 2.0468 | -113.0625
|  | 16.7891 | -1.9056 | 16.7891 | -1.9056 | 2.0669 | -113.0625 | 2.0669 | -113.0625
|  | 16.7454 | -1.9256 | 16.7454 | -1.9256 | 2.087 | -113.0625 | 2.087 | -113.0625
|  | 16.6944 | -1.9469 | 16.6944 | -1.9469 | 2.107 | -113.0625 | 2.107 | -113.0625
|  | 16.6361 | -1.9669 | 16.6361 | -1.9669 | 2.1271 | -113.0625 | 2.1271 | -113.0625
|  | 16.5779 | -1.9869 | 16.5779 | -1.9869 | 2.1472 | -113.0625 | 2.1472 | -113.0625
|  | 16.5196 | -2.0082 | 16.5196 | -2.0082 | 2.1672 | -113.0625 | 2.1672 | -113.0625
|  | 16.4613 | -2.0282 | 16.4613 | -2.0282 | 2.1873 | -113.0625 | 2.1873 | -113.0625
|  | 16.3957 | -2.0507 | 16.3957 | -2.0507 | 2.2074 | -113.0625 | 2.2074 | -113.0625
|  | 16.3375 | -2.0695 | 16.3375 | -2.0695 | 2.2274 | -113.0625 | 2.2274 | -113.0625
|  | 16.2719 | -2.0908 | 16.2719 | -2.0908 | 2.2475 | -113.0625 | 2.2475 | -113.0625
|  | 16.199 | -2.1108 | 16.199 | -2.1108 | 2.2676 | -113.0625 | 2.2676 | -113.0625
|  | 16.1335 | -2.1321 | 16.1335 | -2.1321 | 2.2876 | -113.0625 | 2.2876 | -113.0625
|  | 16.0533 | -2.1521 | 16.0533 | -2.1521 | 2.3077 | -113.0625 | 2.3077 | -113.0625
|  | 15.9732 | -2.1734 | 15.9732 | -2.1734 | 2.3278 | -113.0625 | 2.3278 | -113.0625
|  | 15.9004 | -2.1934 | 15.9004 | -2.1934 | 2.3478 | -113.0625 | 2.3478 | -113.0625
|  | 15.8057 | -2.2146 | 15.8057 | -2.2146 | 2.3679 | -113.0625 | 2.3679 | -113.0625
|  | 15.7182 | -2.2347 | 15.7182 | -2.2347 | 2.388 | -113.0625 | 2.388 | -113.0625
|  | 15.6235 | -2.2547 | 15.6235 | -2.2547 | 2.408 | -113.0625 | 2.408 | -113.0625
|  | 15.5143 | -2.276 | 15.5143 | -2.276 | 2.4281 | -113.0625 | 2.4281 | -113.0625
|  | 15.405 | -2.296 | 15.405 | -2.296 | 2.4482 | -113.0625 | 2.4482 | -113.0625
|  | 15.2811 | -2.3173 | 15.2811 | -2.3173 | 2.4682 | -113.0625 | 2.4682 | -113.0625
|  | 15.15 | -2.3385 | 15.15 | -2.3385 | 2.4883 | -113.0625 | 2.4883 | -113.0625
|  | 15.0116 | -2.3573 | 15.0116 | -2.3573 | 2.5084 | -113.0625 | 2.5084 | -113.0625
|  | 14.8513 | -2.3786 | 14.8513 | -2.3786 | 2.5284 | -113.0625 | 2.5284 | -113.0625
|  | 14.6619 | -2.3961 | 14.6619 | -2.3961 | 2.5485 | -113.0625 | 2.5485 | -113.0625
|  | 14.4507 | -2.4174 | 14.4507 | -2.4174 | 2.5686 | -113.0625 | 2.5686 | -113.0625
|  | 14.1957 | -2.4374 | 14.1957 | -2.4374 | 2.5886 | -113.0625 | 2.5886 | -113.0625
|  | 13.846 | -2.4587 | 13.846 | -2.4587 | 2.6087 | -113.0625 | 2.6087 | -113.0625
|  | 13.2924 | -2.4787 | 13.2924 | -2.4787 | 2.6288 | -113.0625 | 2.6288 | -113.0625
|  | 11.9811 | -2.5012 | 11.9811 | -2.5012 | 2.6488 | -113.0625 | 2.6488 | -113.0625
|  | 9.1764 | -2.5237 | 9.1764 | -2.5237 | 2.6689 | -113.0625 | 2.6689 | -113.0625
|  | 4.9147 | -2.5438 | 4.9147 | -2.5438 | 2.689 | -113.0625 | 2.689 | -113.0625
|  | 1.7385 | -2.565 | 1.7385 | -2.565 | 2.709 | -113.0625 | 2.709 | -113.0625
|  | -1.0517 | -2.5863 | -1.0517 | -2.5863 | 2.7291 | -113.0625 | 2.7291 | -113.0625
|  | -1.4086 | -2.6013 | -1.4086 | -2.6013 | 2.7492 | -113.0625 | 2.7492 | -113.0625
|  | -1.4596 | -2.6226 | -1.4596 | -2.6226 | 2.7692 | -113.0625 | 2.7692 | -113.0625
|  | -1.4815 | -2.6439 | -1.4815 | -2.6439 | 2.7893 | -113.0625 | 2.7893 | -113.0625
|  | -1.5033 | -2.6664 | -1.5033 | -2.6664 | 2.8094 | -113.0625 | 2.8094 | -113.0625
|  | -1.5179 | -2.6852 | -1.5179 | -2.6852 | 2.8294 | -113.0625 | 2.8294 | -113.0625
|  | -1.5325 | -2.7052 | -1.5325 | -2.7052 | 2.8495 | -113.0625 | 2.8495 | -113.0625
|  | -1.547 | -2.7265 | -1.547 | -2.7265 | 2.8696 | -113.0625 | 2.8696 | -113.0625
|  | -1.5543 | -2.7465 | -1.5543 | -2.7465 | 2.8896 | -113.0625 | 2.8896 | -113.0625
|  | -1.5689 | -2.7677 | -1.5689 | -2.7677 | 2.9097 | -113.0625 | 2.9097 | -113.0625
|  | -1.5762 | -2.7878 | -1.5762 | -2.7878 | 2.9298 | -113.0625 | 2.9298 | -113.0625
|  | -1.5835 | -2.8078 | -1.5835 | -2.8078 | 2.9498 | -113.0625 | 2.9498 | -113.0625
|  | -1.5908 | -2.8291 | -1.5908 | -2.8291 | 2.9699 | -113.0625 | 2.9699 | -113.0625
|  | -1.598 | -2.8491 | -1.598 | -2.8491 | 2.99 | -113.0625 | 2.99 | -113.0625
|  | -1.6053 | -2.8704 | -1.6053 | -2.8704 | 3.01 | -113.0625 | 3.01 | -113.0625
|  | -1.6126 | -2.8904 | -1.6126 | -2.8904 | 3.0301 | -113.0625 | 3.0301 | -113.0625
|  | -1.6199 | -2.9117 | -1.6199 | -2.9117 | 3.0502 | -113.0625 | 3.0502 | -113.0625
|  | -1.6272 | -2.9317 | -1.6272 | -2.9317 | 3.0702 | -113.0625 | 3.0702 | -113.0625
|  | -1.6345 | -2.9529 | -1.6345 | -2.9529 | 3.0903 | -113.0625 | 3.0903 | -113.0625
|  | -1.6345 | -2.9717 | -1.6345 | -2.9717 | 3.1104 | -113.0625 | 3.1104 | -113.0625
|  | -1.6417 | -2.9942 | -1.6417 | -2.9942 | 3.1304 | -113.0625 | 3.1304 | -113.0625
|  | -1.649 | -3.0143 | -1.649 | -3.0143 | 3.1505 | -113.0625 | 3.1505 | -113.0625
|  | -1.6563 | -3.0355 | -1.6563 | -3.0355 | 3.1706 | -113.0625 | 3.1706 | -113.0625
|  | -1.6636 | -3.0556 | -1.6636 | -3.0556 | 3.1906 | -113.0625 | 3.1906 | -113.0625
|  | -1.6636 | -3.0756 | -1.6636 | -3.0756 | 3.2107 | -113.0625 | 3.2107 | -113.0625
|  | -1.6709 | -3.0969 | -1.6709 | -3.0969 | 3.2308 | -113.0625 | 3.2308 | -113.0625
|  | -1.6709 | -3.1181 | -1.6709 | -3.1181 | 3.2508 | -113.0625 | 3.2508 | -113.0625
|  | -1.6782 | -3.1381 | -1.6782 | -3.1381 | 3.2709 | -113.0625 | 3.2709 | -113.0625
|  | -1.6855 | -3.1582 | -1.6855 | -3.1582 | 3.291 | -113.0625 | 3.291 | -113.0625
|  | -1.6927 | -3.1794 | -1.6927 | -3.1794 | 3.311 | -113.0625 | 3.311 | -113.0625
|  | -1.6927 | -3.2007 | -1.6927 | -3.2007 | 3.3311 | -113.0625 | 3.3311 | -113.0625
|  | -1.7 | -3.2207 | -1.7 | -3.2207 | 3.3512 | -113.0625 | 3.3512 | -113.0625
|  | -1.7 | -3.2408 | -1.7 | -3.2408 | 3.3712 | -113.0625 | 3.3712 | -113.0625
|  | -1.7073 | -3.2608 | -1.7073 | -3.2608 | 3.3913 | -113.0625 | 3.3913 | -113.0625
|  | -1.7146 | -3.2846 | -1.7146 | -3.2846 | 3.4114 | -113.0625 | 3.4114 | -113.0625
|  | -1.7146 | -3.3033 | -1.7146 | -3.3033 | 3.4314 | -113.0625 | 3.4314 | -113.0625
|  | -1.7219 | -3.3233 | -1.7219 | -3.3233 | 3.4515 | -113.0625 | 3.4515 | -113.0625
|  | -1.7219 | -3.3446 | -1.7219 | -3.3446 | 3.4716 | -113.0625 | 3.4716 | -113.0625
|  | -1.7292 | -3.3646 | -1.7292 | -3.3646 | 3.4916 | -113.0625 | 3.4916 | -113.0625
|  | -1.7292 | -3.3859 | -1.7292 | -3.3859 | 3.5117 | -113.0625 | 3.5117 | -113.0625
|  | -1.7364 | -3.4059 | -1.7364 | -3.4059 | 3.5318 | -113.0625 | 3.5318 | -113.0625
|  | -1.7364 | -3.426 | -1.7364 | -3.426 | 3.5518 | -113.0625 | 3.5518 | -113.0625
|  | -1.7437 | -3.4472 | -1.7437 | -3.4472 | 3.5719 | -113.0625 | 3.5719 | -113.0625
|  | -1.751 | -3.4673 | -1.751 | -3.4673 | 3.592 | -113.0625 | 3.592 | -113.0625
|  | -1.751 | -3.4873 | -1.751 | -3.4873 | 3.612 | -113.0625 | 3.612 | -113.0625
|  | -1.751 | -3.5085 | -1.751 | -3.5085 | 3.6321 | -113.0625 | 3.6321 | -113.0625
|  | -1.7583 | -3.5298 | -1.7583 | -3.5298 | 3.6522 | -113.0625 | 3.6522 | -113.0625
|  | -1.7583 | -3.5511 | -1.7583 | -3.5511 | 3.6722 | -113.0625 | 3.6722 | -113.0625
|  | -1.7656 | -3.5711 | -1.7656 | -3.5711 | 3.6923 | -113.0625 | 3.6923 | -113.0625
|  | -1.7656 | -3.5899 | -1.7656 | -3.5899 | 3.7124 | -113.0625 | 3.7124 | -113.0625
|  | -1.7729 | -3.6112 | -1.7729 | -3.6112 | 3.7324 | -113.0625 | 3.7324 | -113.0625
|  | -1.7802 | -3.6324 | -1.7802 | -3.6324 | 3.7525 | -113.0625 | 3.7525 | -113.0625
|  | -1.7802 | -3.6525 | -1.7802 | -3.6525 | 3.7726 | -113.0625 | 3.7726 | -113.0625
|  | -1.7802 | -3.6737 | -1.7802 | -3.6737 | 3.7926 | -113.0625 | 3.7926 | -113.0625
|  | -1.7874 | -3.6937 | -1.7874 | -3.6937 | 3.8127 | -113.0625 | 3.8127 | -113.0625
|  | -1.7874 | -3.7138 | -1.7874 | -3.7138 | 3.8328 | -113.0625 | 3.8328 | -113.0625
|  | -1.7947 | -3.7338 | -1.7947 | -3.7338 | 3.8528 | -113.0625 | 3.8528 | -113.0625
|  | -1.802 | -3.7551 | -1.802 | -3.7551 | 3.8729 | -113.0625 | 3.8729 | -113.0625
|  | -1.802 | -3.7763 | -1.802 | -3.7763 | 3.893 | -113.0625 | 3.893 | -113.0625
|  | -1.8093 | -3.7964 | -1.8093 | -3.7964 | 3.913 | -113.0625 | 3.913 | -113.0625
|  | -1.8093 | -3.8164 | -1.8093 | -3.8164 | 3.9331 | -113.0625 | 3.9331 | -113.0625
|  | -1.8093 | -3.8364 | -1.8093 | -3.8364 | 3.9532 | -113.0625 | 3.9532 | -113.0625
|  | -1.8093 | -3.8577 | -1.8093 | -3.8577 | 3.9732 | -113.0625 | 3.9732 | -113.0625
|  | -1.8166 | -3.8777 | -1.8166 | -3.8777 | 3.9933 | -113.0625 | 3.9933 | -113.0625
|  | -1.8166 | -3.9002 | -1.8166 | -3.9002 | 4.0134 | -113.0625 | 4.0134 | -113.0625
|  | -1.8239 | -3.9202 | -1.8239 | -3.9202 | 4.0334 | -113.0625 | 4.0334 | -113.0625
|  | -1.8239 | -3.9403 | -1.8239 | -3.9403 | 4.0535 | -113.0625 | 4.0535 | -113.0625
|  | -1.8312 | -3.9603 | -1.8312 | -3.9603 | 4.0736 | -113.0625 | 4.0736 | -113.0625
|  | -1.8312 | -3.9816 | -1.8312 | -3.9816 | 4.0936 | -113.0625 | 4.0936 | -113.0625
|  | -1.8384 | -4.0016 | -1.8384 | -4.0016 | 4.1137 | -113.0625 | 4.1137 | -113.0625
|  | -1.8384 | -4.0229 | -1.8384 | -4.0229 | 4.1338 | -113.0625 | 4.1338 | -113.0625
|  | -1.8384 | -4.0429 | -1.8384 | -4.0429 | 4.1538 | -113.0625 | 4.1538 | -113.0625
|  | -1.8457 | -4.0629 | -1.8457 | -4.0629 | 4.1739 | -113.0625 | 4.1739 | -113.0625
|  | -1.8457 | -4.0842 | -1.8457 | -4.0842 | 4.194 | -113.0625 | 4.194 | -113.0625
|  | -1.853 | -4.1054 | -1.853 | -4.1054 | 4.214 | -113.0625 | 4.214 | -113.0625
|  | -1.853 | -4.1255 | -1.853 | -4.1255 | 4.2341 | -113.0625 | 4.2341 | -113.0625
|  | -1.8603 | -4.1467 | -1.8603 | -4.1467 | 4.2542 | -113.0625 | 4.2542 | -113.0625
|  | -1.8603 | -4.1668 | -1.8603 | -4.1668 | 4.2742 | -113.0625 | 4.2742 | -113.0625
|  | -1.8676 | -4.188 | -1.8676 | -4.188 | 4.2943 | -113.0625 | 4.2943 | -113.0625
|  | -1.8676 | -4.2068 | -1.8676 | -4.2068 | 4.3144 | -113.0625 | 4.3144 | -113.0625
|  | -1.8676 | -4.2281 | -1.8676 | -4.2281 | 4.3344 | -113.0625 | 4.3344 | -113.0625
|  | -1.8749 | -4.2494 | -1.8749 | -4.2494 | 4.3545 | -113.0625 | 4.3545 | -113.0625
|  | -1.8749 | -4.2694 | -1.8749 | -4.2694 | 4.3746 | -113.0625 | 4.3746 | -113.0625
|  | -1.8749 | -4.2906 | -1.8749 | -4.2906 | 4.3946 | -113.0625 | 4.3946 | -113.0625
|  | -1.8821 | -4.3107 | -1.8821 | -4.3107 | 4.4147 | -113.0625 | 4.4147 | -113.0625
|  | -1.8821 | -4.3319 | -1.8821 | -4.3319 | 4.4348 | -113.0625 | 4.4348 | -113.0625
|  | -1.8894 | -4.352 | -1.8894 | -4.352 | 4.4548 | -113.0625 | 4.4548 | -113.0625
|  | -1.8894 | -4.372 | -1.8894 | -4.372 | 4.4749 | -113.0625 | 4.4749 | -113.0625
|  | -1.8967 | -4.3933 | -1.8967 | -4.3933 | 4.495 | -113.0625 | 4.495 | -113.0625
|  | -1.8967 | -4.4133 | -1.8967 | -4.4133 | 4.5151 | -113.0625 | 4.5151 | -113.0625
|  | -1.8967 | -4.4346 | -1.8967 | -4.4346 | 4.5351 | -113.0625 | 4.5351 | -113.0625
|  | -1.904 | -4.4546 | -1.904 | -4.4546 | 4.5552 | -113.0625 | 4.5552 | -113.0625
|  | -1.904 | -4.4758 | -1.904 | -4.4758 | 4.5753 | -113.0625 | 4.5753 | -113.0625
|  | -1.9113 | -4.4959 | -1.9113 | -4.4959 | 4.5953 | -113.0625 | 4.5953 | -113.0625
|  | -1.9113 | -4.5184 | -1.9113 | -4.5184 | 4.6154 | -113.0625 | 4.6154 | -113.0625
|  | -1.9113 | -4.5372 | -1.9113 | -4.5372 | 4.6355 | -113.0625 | 4.6355 | -113.0625
|  | -1.9186 | -4.5584 | -1.9186 | -4.5584 | 4.6555 | -113.0625 | 4.6555 | -113.0625
|  | -1.9186 | -4.5785 | -1.9186 | -4.5785 | 4.6756 | -113.0625 | 4.6756 | -113.0625
|  | -1.9259 | -4.5985 | -1.9259 | -4.5985 | 4.6957 | -113.0625 | 4.6957 | -113.0625
|  | -1.9259 | -4.6198 | -1.9259 | -4.6198 | 4.7157 | -113.0625 | 4.7157 | -113.0625
|  | -1.9259 | -4.6398 | -1.9259 | -4.6398 | 4.7358 | -113.0625 | 4.7358 | -113.0625
|  | -1.9259 | -4.661 | -1.9259 | -4.661 | 4.7559 | -113.0625 | 4.7559 | -113.0625
|  | -1.9331 | -4.6823 | -1.9331 | -4.6823 | 4.7759 | -113.0625 | 4.7759 | -113.0625
|  | -1.9331 | -4.7023 | -1.9331 | -4.7023 | 4.796 | -113.0625 | 4.796 | -113.0625
|  | -1.9331 | -4.7224 | -1.9331 | -4.7224 | 4.8161 | -113.0625 | 4.8161 | -113.0625
|  | -1.9404 | -4.7436 | -1.9404 | -4.7436 | 4.8361 | -113.0625 | 4.8361 | -113.0625
|  | -1.9477 | -4.7649 | -1.9477 | -4.7649 | 4.8562 | -113.0625 | 4.8562 | -113.0625
|  | -1.9477 | -4.7849 | -1.9477 | -4.7849 | 4.8763 | -113.0625 | 4.8763 | -113.0625
|  | -1.9477 | -4.8062 | -1.9477 | -4.8062 | 4.8963 | -113.0625 | 4.8963 | -113.0625
|  | -1.955 | -4.8237 | -1.955 | -4.8237 | 4.9164 | -113.0625 | 4.9164 | -113.0625
|  | -1.955 | -4.8462 | -1.955 | -4.8462 | 4.9365 | -113.0625 | 4.9365 | -113.0625
|  | -1.955 | -4.8675 | -1.955 | -4.8675 | 4.9565 | -113.0625 | 4.9565 | -113.0625
|  | -1.9623 | -4.8875 | -1.9623 | -4.8875 | 4.9766 | -113.0625 | 4.9766 | -113.0625
|  | -1.9623 | -4.9088 | -1.9623 | -4.9088 | 4.9967 | -113.0625 | 4.9967 | -113.0625
|  | -1.9623 | -4.9288 | -1.9623 | -4.9288 | 5.0167 | -113.0625 | 5.0167 | -113.0625
|  | -1.9696 | -4.9489 | -1.9696 | -4.9489 | 5.0368 | -113.0625 | 5.0368 | -113.0625
|  | -1.9696 | -4.9676 | -1.9696 | -4.9676 | 5.0569 | -113.0625 | 5.0569 | -113.0625
|  | -1.9769 | -4.9889 | -1.9769 | -4.9889 | 5.0769 | -113.0625 | 5.0769 | -113.0625
|  | -1.9769 | -5.0089 | -1.9769 | -5.0089 | 5.097 | -113.0625 | 5.097 | -113.0625
|  | -1.9841 | -5.0302 | -1.9841 | -5.0302 | 5.1171 | -113.0625 | 5.1171 | -113.0625
|  | -1.9841 | -5.049 | -1.9841 | -5.049 | 5.1371 | -113.0625 | 5.1371 | -113.0625
|  | -1.9841 | -5.0702 | -1.9841 | -5.0702 | 5.1572 | -113.0625 | 5.1572 | -113.0625
|  | -1.9914 | -5.0903 | -1.9914 | -5.0903 | 5.1773 | -113.0625 | 5.1773 | -113.0625
|  | -1.9914 | -5.1115 | -1.9914 | -5.1115 | 5.1973 | -113.0625 | 5.1973 | -113.0625
|  | -1.9914 | -5.1341 | -1.9914 | -5.1341 | 5.2174 | -113.0625 | 5.2174 | -113.0625
|  | -1.9987 | -5.1528 | -1.9987 | -5.1528 | 5.2375 | -113.0625 | 5.2375 | -113.0625
|  | -1.9987 | -5.1728 | -1.9987 | -5.1728 | 5.2575 | -113.0625 | 5.2575 | -113.0625
|  | -1.9987 | -5.1941 | -1.9987 | -5.1941 | 5.2776 | -113.0625 | 5.2776 | -113.0625
|  | -2.006 | -5.2154 | -2.006 | -5.2154 | 5.2977 | -113.0625 | 5.2977 | -113.0625
|  | -2.006 | -5.2354 | -2.006 | -5.2354 | 5.3177 | -113.0625 | 5.3177 | -113.0625
|  | -2.0133 | -5.2554 | -2.0133 | -5.2554 | 5.3378 | -113.0625 | 5.3378 | -113.0625
|  | -2.0133 | -5.2755 | -2.0133 | -5.2755 | 5.3579 | -113.0625 | 5.3579 | -113.0625
|  | -2.0133 | -5.2967 | -2.0133 | -5.2967 | 5.3779 | -113.0625 | 5.3779 | -113.0625
|  | -2.0206 | -5.318 | -2.0206 | -5.318 | 5.398 | -113.0625 | 5.398 | -113.0625
|  | -2.0206 | -5.338 | -2.0206 | -5.338 | 5.4181 | -113.0625 | 5.4181 | -113.0625
|  | -2.0206 | -5.3593 | -2.0206 | -5.3593 | 5.4381 | -113.0625 | 5.4381 | -113.0625
|  | -2.0278 | -5.3793 | -2.0278 | -5.3793 | 5.4582 | -113.0625 | 5.4582 | -113.0625
|  | -2.0278 | -5.4006 | -2.0278 | -5.4006 | 5.4783 | -113.0625 | 5.4783 | -113.0625
|  | -2.0351 | -5.4206 | -2.0351 | -5.4206 | 5.4983 | -113.0625 | 5.4983 | -113.0625
|  | -2.0351 | -5.4406 | -2.0351 | -5.4406 | 5.5184 | -113.0625 | 5.5184 | -113.0625
|  | -2.0424 | -5.4619 | -2.0424 | -5.4619 | 5.5385 | -113.0625 | 5.5385 | -113.0625
|  | -2.0424 | -5.4832 | -2.0424 | -5.4832 | 5.5585 | -113.0625 | 5.5585 | -113.0625
|  | -2.0424 | -5.5032 | -2.0424 | -5.5032 | 5.5786 | -113.0625 | 5.5786 | -113.0625
|  | -2.0424 | -5.5232 | -2.0424 | -5.5232 | 5.5987 | -113.0625 | 5.5987 | -113.0625
|  | -2.0497 | -5.5445 | -2.0497 | -5.5445 | 5.6187 | -113.0625 | 5.6187 | -113.0625
|  | -2.0497 | -5.5645 | -2.0497 | -5.5645 | 5.6388 | -113.0625 | 5.6388 | -113.0625
|  | -2.0497 | -5.5858 | -2.0497 | -5.5858 | 5.6589 | -113.0625 | 5.6589 | -113.0625
|  | -2.057 | -5.6058 | -2.057 | -5.6058 | 5.6789 | -113.0625 | 5.6789 | -113.0625
|  | -2.057 | -5.6271 | -2.057 | -5.6271 | 5.699 | -113.0625 | 5.699 | -113.0625
|  | -2.0643 | -5.6471 | -2.0643 | -5.6471 | 5.7191 | -113.0625 | 5.7191 | -113.0625
|  | -2.0643 | -5.6684 | -2.0643 | -5.6684 | 5.7391 | -113.0625 | 5.7391 | -113.0625
|  | -2.0643 | -5.6884 | -2.0643 | -5.6884 | 5.7592 | -113.0625 | 5.7592 | -113.0625
|  | -2.0716 | -5.7084 | -2.0716 | -5.7084 | 5.7793 | -113.0625 | 5.7793 | -113.0625
|  | -2.0716 | -5.7297 | -2.0716 | -5.7297 | 5.7993 | -113.0625 | 5.7993 | -113.0625
|  | -2.0716 | -5.7522 | -2.0716 | -5.7522 | 5.8194 | -113.0625 | 5.8194 | -113.0625
|  | -2.0788 | -5.771 | -2.0788 | -5.771 | 5.8395 | -113.0625 | 5.8395 | -113.0625
|  | -2.0788 | -5.7923 | -2.0788 | -5.7923 | 5.8595 | -113.0625 | 5.8595 | -113.0625
|  | -2.0788 | -5.8123 | -2.0788 | -5.8123 | 5.8796 | -113.0625 | 5.8796 | -113.0625
|  | -2.0861 | -5.8323 | -2.0861 | -5.8323 | 5.8997 | -113.0625 | 5.8997 | -113.0625
|  | -2.0861 | -5.8536 | -2.0861 | -5.8536 | 5.9197 | -113.0625 | 5.9197 | -113.0625
|  | -2.0861 | -5.8736 | -2.0861 | -5.8736 | 5.9398 | -113.0625 | 5.9398 | -113.0625
|  | -2.0934 | -5.8936 | -2.0934 | -5.8936 | 5.9599 | -113.0625 | 5.9599 | -113.0625
|  | -2.0934 | -5.9149 | -2.0934 | -5.9149 | 5.9799 | -113.0625 | 5.9799 | -113.0625
|  | -2.1007 | -5.9349 | -2.1007 | -5.9349 | 6 | -113.0625 | 6 | -113.0625

## Celltype
Cell type
Name | Bosch
Parameter | Value | Unit
Base Doping | p-type
Cell Area | 6095.35 | cm2
α (Current Coeff.) | 0 | mA/(K*cm2)
β (Voltage Coeff.) | 0 | mV/K
κ (IV Curve Corr.) | 0 | Ohm*cm2/K
Temperature Sensor | Fixed Temperature(25°C)
IatV_D1: at Voltage | -8000 | mV
IatV_D2: at Voltage | -12000 | mV
IatV_D3: at Voltage | -14000 | mV
Rp: Start Voltage | -1000 | mV
Rp: End Voltage | 1000 | mV
Rp adjustment: Slope | 1
Rp adjustment: Offset | 0
VrevMin: Current Limit | -16 | A
IatV_L1: at Voltage | 500 | mV
IatV_L2: at Voltage | 400 | mV
IatV_L3: at Voltage | 600 | mV
Curve Optimization (light steps) | disabled
Comment | no comment