## IV-Summary
IV-Summary |  | Step Name | newstep 1 |  | Step Name | newstep 1 |  | Step Name | newstep 1
Serial Number | sn18446251899660900004 | Input Parameters |  |  | Data series | IV Curve |  | Data series | Raw IV Data
Start Time | 2026-01-16 15:19
Comment |  | Parameter | Value | Unit | Parameter | Value | Unit | Parameter | Value | Unit
Lot |  | StepType | voltage_sweep_standard |  | Isc | 0.97527 | A | Isc | 0.97527 | A
Recipe | Dauertest WL | StartVoltage | 0 | V | Voc | 19.113 | V | Voc | 19.113 | V
User | engineer | EndVoltage | 6 | V | FF | 71.3778 | % | FF | 71.3778 | %
User Groups | Engineer | MeasurementTime | 100 | ms | Vmpp | 15.9211 | V | Vmpp | 15.9211 | V
Master Device | IV | SampleCount | 100 |  | Impp | 0.83569 | A | Impp | 0.83569 | A
Started by | LabStatusLine (button start) | PreMeasurementDelay | 2000 | ms | Pmpp | 13.3051 | W | Pmpp | 13.3051 | W
Version | SinusGUI v2.526 b01 (b7453.24232#32) | MinSettlingTime | 50 | µs | Idmpp |  | A | Idmpp |  | A
Save Time | 2026-01-16 15:21 | IntensityCorrection | no |  | ETA | 5.2111 | % | ETA | 5.2111 | %
Cell Type | default | TemperatureCorrection | no |  | IatV_L1_current |  | A | IatV_L1_current |  | A
Line Resistance [mOhm] | 0 | CurrentAmplifier | auto |  | IatV_L1_voltage | 0.5 | V | IatV_L1_voltage | 0.5 | V
Firmware | 1.07.21 (1#[Release4Bootloader_Outdoor]2#[Mar 29 2019]3#[14:36:23]) | VoltageAmplifier | auto |  | IatV_L2_current |  | A | IatV_L2_current |  | A
FPGA | T2-10.2 | DataPointDistribution | linear |  | IatV_L2_voltage | 0.4 | V | IatV_L2_voltage | 0.4 | V
[5 empty] | IatV_L3_current |  | A | IatV_L3_current |  | A
[5 empty] | IatV_L3_voltage | 0.6 | V | IatV_L3_voltage | 0.6 | V
[5 empty] | Area | 12766 | cm2 | Area | 12766 | cm2
[5 empty] | Temperature | 25 | °C | Temperature | 25 | °C
[5 empty] | Ifor05 |  | A | Ifor05 |  | A

## IV-Raw
IV-Raw |  | Step Name | newstep 1 | Step Name | newstep 1 | Step Name | newstep 1 | Step Name | newstep 1
Serial Number | sn18446251899660900004 | Data series | IV Curve | Data series | Raw IV Data | Data series | Intensity (raw data) | Data series | Intensity
Start Time | 2026-01-16 15:19
Comment |  | Voltage [V] | Current [A] | Voltage [V] | Current [A] | Set Voltage [V] | E | Set Voltage [V] | E
Lot |  | 19.113 | -0.0004444 | 19.113 | -0.0004444 | 0 | -113.0625 | 0 | -113.0625
Recipe | Dauertest WL | 19.113 | -0.00050816 | 19.113 | -0.00050816 | 0.060606 | -113.0625 | 0.060606 | -113.0625
User | engineer | 19.113 | -0.00050816 | 19.113 | -0.00050816 | 0.12121 | -113.0625 | 0.12121 | -113.0625
User Groups | Engineer | 19.113 | -0.00050816 | 19.113 | -0.00050816 | 0.18182 | -113.0625 | 0.18182 | -113.0625
Master Device | IV | 19.113 | -0.0019746 | 19.113 | -0.0019746 | 0.24242 | -113.0625 | 0.24242 | -113.0625
Started by | LabStatusLine (button start) | 19.0329 | -0.044757 | 19.0329 | -0.044757 | 0.30303 | -113.0625 | 0.30303 | -113.0625
Version | SinusGUI v2.526 b01 (b7453.24232#32) | 18.8216 | -0.15672 | 18.8216 | -0.15672 | 0.36364 | -113.0625 | 0.36364 | -113.0625
Save Time | 2026-01-16 15:21 | 18.6832 | -0.2257 | 18.6832 | -0.2257 | 0.42424 | -113.0625 | 0.42424 | -113.0625
Cell Type | default | 18.5375 | -0.28966 | 18.5375 | -0.28966 | 0.48485 | -113.0625 | 0.48485 | -113.0625
Line Resistance [mOhm] | 0 | 18.3845 | -0.35233 | 18.3845 | -0.35233 | 0.54545 | -113.0625 | 0.54545 | -113.0625
Firmware | 1.07.21 (1#[Release4Bootloader_Outdoor]2#[Mar 29 2019]3#[14:36:23]) | 18.217 | -0.41475 | 18.217 | -0.41475 | 0.60606 | -113.0625 | 0.60606 | -113.0625
FPGA | T2-10.2 | 18.0348 | -0.47672 | 18.0348 | -0.47672 | 0.66667 | -113.0625 | 0.66667 | -113.0625
|  | 17.8309 | -0.53883 | 17.8309 | -0.53883 | 0.72727 | -113.0625 | 0.72727 | -113.0625
|  | 17.5977 | -0.60182 | 17.5977 | -0.60182 | 0.78788 | -113.0625 | 0.78788 | -113.0625
|  | 17.3136 | -0.6643 | 17.3136 | -0.6643 | 0.84848 | -113.0625 | 0.84848 | -113.0625
|  | 16.9567 | -0.72621 | 16.9567 | -0.72621 | 0.90909 | -113.0625 | 0.90909 | -113.0625
|  | 16.4832 | -0.78844 | 16.4832 | -0.78844 | 0.9697 | -113.0625 | 0.9697 | -113.0625
|  | 15.6527 | -0.84441 | 15.6527 | -0.84441 | 1.0303 | -113.0625 | 1.0303 | -113.0625
|  | 10.7791 | -0.90823 | 10.7791 | -0.90823 | 1.0909 | -113.0625 | 1.0909 | -113.0625
|  | -0.20662 | -0.97205 | -0.20662 | -0.97205 | 1.1515 | -113.0625 | 1.1515 | -113.0625
|  | -1.3941 | -1.0321 | -1.3941 | -1.0321 | 1.2121 | -113.0625 | 1.2121 | -113.0625
|  | -1.4378 | -1.0934 | -1.4378 | -1.0934 | 1.2727 | -113.0625 | 1.2727 | -113.0625
|  | -1.4669 | -1.1535 | -1.4669 | -1.1535 | 1.3333 | -113.0625 | 1.3333 | -113.0625
|  | -1.496 | -1.2136 | -1.496 | -1.2136 | 1.3939 | -113.0625 | 1.3939 | -113.0625
|  | -1.5179 | -1.2774 | -1.5179 | -1.2774 | 1.4545 | -113.0625 | 1.4545 | -113.0625
|  | -1.5398 | -1.3387 | -1.5398 | -1.3387 | 1.5152 | -113.0625 | 1.5152 | -113.0625
|  | -1.5543 | -1.4013 | -1.5543 | -1.4013 | 1.5758 | -113.0625 | 1.5758 | -113.0625
|  | -1.5689 | -1.4638 | -1.5689 | -1.4638 | 1.6364 | -113.0625 | 1.6364 | -113.0625
|  | -1.5762 | -1.5264 | -1.5762 | -1.5264 | 1.697 | -113.0625 | 1.697 | -113.0625
|  | -1.598 | -1.5877 | -1.598 | -1.5877 | 1.7576 | -113.0625 | 1.7576 | -113.0625
|  | -1.6053 | -1.6503 | -1.6053 | -1.6503 | 1.8182 | -113.0625 | 1.8182 | -113.0625
|  | -1.6199 | -1.7116 | -1.6199 | -1.7116 | 1.8788 | -113.0625 | 1.8788 | -113.0625
|  | -1.6345 | -1.7742 | -1.6345 | -1.7742 | 1.9394 | -113.0625 | 1.9394 | -113.0625
|  | -1.6417 | -1.8367 | -1.6417 | -1.8367 | 2 | -113.0625 | 2 | -113.0625
|  | -1.6563 | -1.8993 | -1.6563 | -1.8993 | 2.0606 | -113.0625 | 2.0606 | -113.0625
|  | -1.6636 | -1.9606 | -1.6636 | -1.9606 | 2.1212 | -113.0625 | 2.1212 | -113.0625
|  | -1.6709 | -2.0232 | -1.6709 | -2.0232 | 2.1818 | -113.0625 | 2.1818 | -113.0625
|  | -1.6855 | -2.0858 | -1.6855 | -2.0858 | 2.2424 | -113.0625 | 2.2424 | -113.0625
|  | -1.6927 | -2.1471 | -1.6927 | -2.1471 | 2.303 | -113.0625 | 2.303 | -113.0625
|  | -1.7 | -2.2096 | -1.7 | -2.2096 | 2.3636 | -113.0625 | 2.3636 | -113.0625
|  | -1.7146 | -2.2722 | -1.7146 | -2.2722 | 2.4242 | -113.0625 | 2.4242 | -113.0625
|  | -1.7219 | -2.3348 | -1.7219 | -2.3348 | 2.4848 | -113.0625 | 2.4848 | -113.0625
|  | -1.7292 | -2.3948 | -1.7292 | -2.3948 | 2.5455 | -113.0625 | 2.5455 | -113.0625
|  | -1.7437 | -2.4549 | -1.7437 | -2.4549 | 2.6061 | -113.0625 | 2.6061 | -113.0625
|  | -1.751 | -2.5175 | -1.751 | -2.5175 | 2.6667 | -113.0625 | 2.6667 | -113.0625
|  | -1.751 | -2.58 | -1.751 | -2.58 | 2.7273 | -113.0625 | 2.7273 | -113.0625
|  | -1.7656 | -2.6426 | -1.7656 | -2.6426 | 2.7879 | -113.0625 | 2.7879 | -113.0625
|  | -1.7729 | -2.7052 | -1.7729 | -2.7052 | 2.8485 | -113.0625 | 2.8485 | -113.0625
|  | -1.7802 | -2.7665 | -1.7802 | -2.7665 | 2.9091 | -113.0625 | 2.9091 | -113.0625
|  | -1.7874 | -2.8291 | -1.7874 | -2.8291 | 2.9697 | -113.0625 | 2.9697 | -113.0625
|  | -1.802 | -2.8916 | -1.802 | -2.8916 | 3.0303 | -113.0625 | 3.0303 | -113.0625
|  | -1.8093 | -2.9529 | -1.8093 | -2.9529 | 3.0909 | -113.0625 | 3.0909 | -113.0625
|  | -1.8093 | -3.0155 | -1.8093 | -3.0155 | 3.1515 | -113.0625 | 3.1515 | -113.0625
|  | -1.8239 | -3.0793 | -1.8239 | -3.0793 | 3.2121 | -113.0625 | 3.2121 | -113.0625
|  | -1.8312 | -3.1406 | -1.8312 | -3.1406 | 3.2727 | -113.0625 | 3.2727 | -113.0625
|  | -1.8384 | -3.2032 | -1.8384 | -3.2032 | 3.3333 | -113.0625 | 3.3333 | -113.0625
|  | -1.8457 | -3.2645 | -1.8457 | -3.2645 | 3.3939 | -113.0625 | 3.3939 | -113.0625
|  | -1.853 | -3.3259 | -1.853 | -3.3259 | 3.4545 | -113.0625 | 3.4545 | -113.0625
|  | -1.8603 | -3.3884 | -1.8603 | -3.3884 | 3.5152 | -113.0625 | 3.5152 | -113.0625
|  | -1.8676 | -3.451 | -1.8676 | -3.451 | 3.5758 | -113.0625 | 3.5758 | -113.0625
|  | -1.8749 | -3.5136 | -1.8749 | -3.5136 | 3.6364 | -113.0625 | 3.6364 | -113.0625
|  | -1.8821 | -3.5761 | -1.8821 | -3.5761 | 3.697 | -113.0625 | 3.697 | -113.0625
|  | -1.8894 | -3.6387 | -1.8894 | -3.6387 | 3.7576 | -113.0625 | 3.7576 | -113.0625
|  | -1.8967 | -3.6988 | -1.8967 | -3.6988 | 3.8182 | -113.0625 | 3.8182 | -113.0625
|  | -1.904 | -3.7613 | -1.904 | -3.7613 | 3.8788 | -113.0625 | 3.8788 | -113.0625
|  | -1.9186 | -3.8226 | -1.9186 | -3.8226 | 3.9394 | -113.0625 | 3.9394 | -113.0625
|  | -1.9259 | -3.8852 | -1.9259 | -3.8852 | 4 | -113.0625 | 4 | -113.0625
|  | -1.9259 | -3.9478 | -1.9259 | -3.9478 | 4.0606 | -113.0625 | 4.0606 | -113.0625
|  | -1.9331 | -4.0103 | -1.9331 | -4.0103 | 4.1212 | -113.0625 | 4.1212 | -113.0625
|  | -1.9404 | -4.0717 | -1.9404 | -4.0717 | 4.1818 | -113.0625 | 4.1818 | -113.0625
|  | -1.9477 | -4.1342 | -1.9477 | -4.1342 | 4.2424 | -113.0625 | 4.2424 | -113.0625
|  | -1.955 | -4.1968 | -1.955 | -4.1968 | 4.303 | -113.0625 | 4.303 | -113.0625
|  | -1.9623 | -4.2581 | -1.9623 | -4.2581 | 4.3636 | -113.0625 | 4.3636 | -113.0625
|  | -1.9696 | -4.3219 | -1.9696 | -4.3219 | 4.4242 | -113.0625 | 4.4242 | -113.0625
|  | -1.9769 | -4.3832 | -1.9769 | -4.3832 | 4.4848 | -113.0625 | 4.4848 | -113.0625
|  | -1.9841 | -4.4458 | -1.9841 | -4.4458 | 4.5455 | -113.0625 | 4.5455 | -113.0625
|  | -1.9914 | -4.5071 | -1.9914 | -4.5071 | 4.6061 | -113.0625 | 4.6061 | -113.0625
|  | -1.9987 | -4.5697 | -1.9987 | -4.5697 | 4.6667 | -113.0625 | 4.6667 | -113.0625
|  | -2.006 | -4.6323 | -2.006 | -4.6323 | 4.7273 | -113.0625 | 4.7273 | -113.0625
|  | -2.0133 | -4.6936 | -2.0133 | -4.6936 | 4.7879 | -113.0625 | 4.7879 | -113.0625
|  | -2.0206 | -4.7574 | -2.0206 | -4.7574 | 4.8485 | -113.0625 | 4.8485 | -113.0625
|  | -2.0278 | -4.8187 | -2.0278 | -4.8187 | 4.9091 | -113.0625 | 4.9091 | -113.0625
|  | -2.0351 | -4.8825 | -2.0351 | -4.8825 | 4.9697 | -113.0625 | 4.9697 | -113.0625
|  | -2.0424 | -4.9426 | -2.0424 | -4.9426 | 5.0303 | -113.0625 | 5.0303 | -113.0625
|  | -2.0424 | -5.0027 | -2.0424 | -5.0027 | 5.0909 | -113.0625 | 5.0909 | -113.0625
|  | -2.0497 | -5.0652 | -2.0497 | -5.0652 | 5.1515 | -113.0625 | 5.1515 | -113.0625
|  | -2.0643 | -5.1278 | -2.0643 | -5.1278 | 5.2121 | -113.0625 | 5.2121 | -113.0625
|  | -2.0716 | -5.1904 | -2.0716 | -5.1904 | 5.2727 | -113.0625 | 5.2727 | -113.0625
|  | -2.0716 | -5.2517 | -2.0716 | -5.2517 | 5.3333 | -113.0625 | 5.3333 | -113.0625
|  | -2.0788 | -5.3143 | -2.0788 | -5.3143 | 5.3939 | -113.0625 | 5.3939 | -113.0625
|  | -2.0861 | -5.3768 | -2.0861 | -5.3768 | 5.4545 | -113.0625 | 5.4545 | -113.0625
|  | -2.0934 | -5.4381 | -2.0934 | -5.4381 | 5.5152 | -113.0625 | 5.5152 | -113.0625
|  | -2.1007 | -5.5007 | -2.1007 | -5.5007 | 5.5758 | -113.0625 | 5.5758 | -113.0625
|  | -2.108 | -5.5633 | -2.108 | -5.5633 | 5.6364 | -113.0625 | 5.6364 | -113.0625
|  | -2.1153 | -5.6258 | -2.1153 | -5.6258 | 5.697 | -113.0625 | 5.697 | -113.0625
|  | -2.1226 | -5.6872 | -2.1226 | -5.6872 | 5.7576 | -113.0625 | 5.7576 | -113.0625
|  | -2.1298 | -5.7497 | -2.1298 | -5.7497 | 5.8182 | -113.0625 | 5.8182 | -113.0625
|  | -2.1371 | -5.8123 | -2.1371 | -5.8123 | 5.8788 | -113.0625 | 5.8788 | -113.0625
|  | -2.1444 | -5.8736 | -2.1444 | -5.8736 | 5.9394 | -113.0625 | 5.9394 | -113.0625
|  | -2.1517 | -5.9374 | -2.1517 | -5.9374 | 6 | -113.0625 | 6 | -113.0625

## Celltype
Cell type
Name | default
Parameter | Value | Unit
Base Doping | p-type
Cell Area | 12766 | cm2
α (Current Coeff.) | 0.0375 | mA/(K*cm2)
β (Voltage Coeff.) | -2.2 | mV/K
κ (IV Curve Corr.) | 0 | Ohm*cm2/K
Temperature Sensor | Heliatek_PM2_Temperature_Sensor
IatV_D1: at Voltage | -8000 | mV
IatV_D2: at Voltage | -12000 | mV
IatV_D3: at Voltage | -14000 | mV
Rp: Start Voltage | -100 | mV
Rp: End Voltage | -3000 | mV
VrevMin: Current Limit | -16 | A
IatV_L1: at Voltage | 500 | mV
IatV_L2: at Voltage | 400 | mV
IatV_L3: at Voltage | 600 | mV
Curve Optimization (light steps) | disabled
Comment | no comment