## IV-Summary
IV-Summary |  | Step Name | newstep 1 |  | Step Name | newstep 1 |  | Step Name | newstep 1
Serial Number | sn18446251899660900013 | Input Parameters |  |  | Data series | IV Curve |  | Data series | Raw IV Data
Start Time | 2026-01-16 15:49
Comment |  | Parameter | Value | Unit | Parameter | Value | Unit | Parameter | Value | Unit
Lot |  | StepType | voltage_sweep_standard |  | Isc | 5.3467 | A | Isc | 5.3467 | A
Recipe | Dauertest WL | StartVoltage | 0 | V | Voc | 20.5311 | V | Voc | 20.5311 | V
User | engineer | EndVoltage | 6 | V | FF | 48.8975 | % | FF | 48.8975 | %
User Groups | Engineer | MeasurementTime | 100 | ms | Vmpp | 17.4436 | V | Vmpp | 17.4436 | V
Master Device | IV | SampleCount | 100 |  | Impp | 3.0771 | A | Impp | 3.0771 | A
Started by | LabStatusLine (button start) | PreMeasurementDelay | 2000 | ms | Pmpp | 53.6765 | W | Pmpp | 53.6765 | W
Version | SinusGUI v2.526 b01 (b7453.24232#32) | MinSettlingTime | 50 | µs | Idmpp |  | A | Idmpp |  | A
Save Time | 2026-01-16 15:51 | IntensityCorrection | no |  | ETA | 4.2046 | % | ETA | 4.2046 | %
Cell Type | default | TemperatureCorrection | no |  | IatV_L1_current |  | A | IatV_L1_current |  | A
Line Resistance [mOhm] | 0 | CurrentAmplifier | auto |  | IatV_L1_voltage | 0.5 | V | IatV_L1_voltage | 0.5 | V
Firmware | 1.07.21 (1#[Release4Bootloader_Outdoor]2#[Mar 29 2019]3#[14:36:23]) | VoltageAmplifier | auto |  | IatV_L2_current |  | A | IatV_L2_current |  | A
FPGA | T2-10.2 | DataPointDistribution | linear |  | IatV_L2_voltage | 0.4 | V | IatV_L2_voltage | 0.4 | V
[5 empty] | IatV_L3_current |  | A | IatV_L3_current |  | A
[5 empty] | IatV_L3_voltage | 0.6 | V | IatV_L3_voltage | 0.6 | V
[5 empty] | Area | 12766 | cm2 | Area | 12766 | cm2
[5 empty] | Temperature | 25 | °C | Temperature | 25 | °C
[5 empty] | Ifor05 |  | A | Ifor05 |  | A

## IV-Raw
IV-Raw |  | Step Name | newstep 1 | Step Name | newstep 1 | Step Name | newstep 1 | Step Name | newstep 1
Serial Number | sn18446251899660900013 | Data series | IV Curve | Data series | Raw IV Data | Data series | Intensity (raw data) | Data series | Intensity
Start Time | 2026-01-16 15:49
Comment |  | Voltage [V] | Current [A] | Voltage [V] | Current [A] | Set Voltage [V] | E | Set Voltage [V] | E
Lot |  | 20.5336 | -0.00063568 | 20.5336 | -0.00063568 | 0 | -113.0625 | 0 | -113.0625
Recipe | Dauertest WL | 20.5336 | -0.00057192 | 20.5336 | -0.00057192 | 0.060606 | -113.0625 | 0.060606 | -113.0625
User | engineer | 20.5263 | -0.00050816 | 20.5263 | -0.00050816 | 0.12121 | -113.0625 | 0.12121 | -113.0625
User Groups | Engineer | 20.5263 | -0.00057192 | 20.5263 | -0.00057192 | 0.18182 | -113.0625 | 0.18182 | -113.0625
Master Device | IV | 20.5263 | -0.0021021 | 20.5263 | -0.0021021 | 0.24242 | -113.0625 | 0.24242 | -113.0625
Started by | LabStatusLine (button start) | 20.4971 | -0.045968 | 20.4971 | -0.045968 | 0.30303 | -113.0625 | 0.30303 | -113.0625
Version | SinusGUI v2.526 b01 (b7453.24232#32) | 20.4097 | -0.1571 | 20.4097 | -0.1571 | 0.36364 | -113.0625 | 0.36364 | -113.0625
Save Time | 2026-01-16 15:51 | 20.3587 | -0.2257 | 20.3587 | -0.2257 | 0.42424 | -113.0625 | 0.42424 | -113.0625
Cell Type | default | 20.315 | -0.28915 | 20.315 | -0.28915 | 0.48485 | -113.0625 | 0.48485 | -113.0625
Line Resistance [mOhm] | 0 | 20.264 | -0.35208 | 20.264 | -0.35208 | 0.54545 | -113.0625 | 0.54545 | -113.0625
Firmware | 1.07.21 (1#[Release4Bootloader_Outdoor]2#[Mar 29 2019]3#[14:36:23]) | 20.2203 | -0.4145 | 20.2203 | -0.4145 | 0.60606 | -113.0625 | 0.60606 | -113.0625
FPGA | T2-10.2 | 20.162 | -0.47723 | 20.162 | -0.47723 | 0.66667 | -113.0625 | 0.66667 | -113.0625
|  | 20.111 | -0.53959 | 20.111 | -0.53959 | 0.72727 | -113.0625 | 0.72727 | -113.0625
|  | 20.0746 | -0.60054 | 20.0746 | -0.60054 | 0.78788 | -113.0625 | 0.78788 | -113.0625
|  | 20.0163 | -0.66367 | 20.0163 | -0.66367 | 0.84848 | -113.0625 | 0.84848 | -113.0625
|  | 19.9653 | -0.72589 | 19.9653 | -0.72589 | 0.90909 | -113.0625 | 0.90909 | -113.0625
|  | 19.9216 | -0.78793 | 19.9216 | -0.78793 | 0.9697 | -113.0625 | 0.9697 | -113.0625
|  | 19.8706 | -0.84316 | 19.8706 | -0.84316 | 1.0303 | -113.0625 | 1.0303 | -113.0625
|  | 19.8196 | -0.90573 | 19.8196 | -0.90573 | 1.0909 | -113.0625 | 1.0909 | -113.0625
|  | 19.7687 | -0.9683 | 19.7687 | -0.9683 | 1.1515 | -113.0625 | 1.1515 | -113.0625
|  | 19.7177 | -1.0296 | 19.7177 | -1.0296 | 1.2121 | -113.0625 | 1.2121 | -113.0625
|  | 19.6667 | -1.0922 | 19.6667 | -1.0922 | 1.2727 | -113.0625 | 1.2727 | -113.0625
|  | 19.6157 | -1.151 | 19.6157 | -1.151 | 1.3333 | -113.0625 | 1.3333 | -113.0625
|  | 19.5574 | -1.2136 | 19.5574 | -1.2136 | 1.3939 | -113.0625 | 1.3939 | -113.0625
|  | 19.5137 | -1.2761 | 19.5137 | -1.2761 | 1.4545 | -113.0625 | 1.4545 | -113.0625
|  | 19.4627 | -1.3374 | 19.4627 | -1.3374 | 1.5152 | -113.0625 | 1.5152 | -113.0625
|  | 19.4044 | -1.4 | 19.4044 | -1.4 | 1.5758 | -113.0625 | 1.5758 | -113.0625
|  | 19.3461 | -1.4626 | 19.3461 | -1.4626 | 1.6364 | -113.0625 | 1.6364 | -113.0625
|  | 19.2951 | -1.5239 | 19.2951 | -1.5239 | 1.697 | -113.0625 | 1.697 | -113.0625
|  | 19.2369 | -1.5865 | 19.2369 | -1.5865 | 1.7576 | -113.0625 | 1.7576 | -113.0625
|  | 19.1786 | -1.649 | 19.1786 | -1.649 | 1.8182 | -113.0625 | 1.8182 | -113.0625
|  | 19.1276 | -1.7116 | 19.1276 | -1.7116 | 1.8788 | -113.0625 | 1.8788 | -113.0625
|  | 19.0693 | -1.7742 | 19.0693 | -1.7742 | 1.9394 | -113.0625 | 1.9394 | -113.0625
|  | 19.0183 | -1.8342 | 19.0183 | -1.8342 | 2 | -113.0625 | 2 | -113.0625
|  | 18.96 | -1.8981 | 18.96 | -1.8981 | 2.0606 | -113.0625 | 2.0606 | -113.0625
|  | 18.9017 | -1.9594 | 18.9017 | -1.9594 | 2.1212 | -113.0625 | 2.1212 | -113.0625
|  | 18.8362 | -2.0219 | 18.8362 | -2.0219 | 2.1818 | -113.0625 | 2.1818 | -113.0625
|  | 18.7779 | -2.0845 | 18.7779 | -2.0845 | 2.2424 | -113.0625 | 2.2424 | -113.0625
|  | 18.7196 | -2.1458 | 18.7196 | -2.1458 | 2.303 | -113.0625 | 2.303 | -113.0625
|  | 18.6541 | -2.2084 | 18.6541 | -2.2084 | 2.3636 | -113.0625 | 2.3636 | -113.0625
|  | 18.5958 | -2.271 | 18.5958 | -2.271 | 2.4242 | -113.0625 | 2.4242 | -113.0625
|  | 18.5302 | -2.3323 | 18.5302 | -2.3323 | 2.4848 | -113.0625 | 2.4848 | -113.0625
|  | 18.4719 | -2.3923 | 18.4719 | -2.3923 | 2.5455 | -113.0625 | 2.5455 | -113.0625
|  | 18.3991 | -2.4549 | 18.3991 | -2.4549 | 2.6061 | -113.0625 | 2.6061 | -113.0625
|  | 18.3335 | -2.5162 | 18.3335 | -2.5162 | 2.6667 | -113.0625 | 2.6667 | -113.0625
|  | 18.268 | -2.5788 | 18.268 | -2.5788 | 2.7273 | -113.0625 | 2.7273 | -113.0625
|  | 18.1951 | -2.6401 | 18.1951 | -2.6401 | 2.7879 | -113.0625 | 2.7879 | -113.0625
|  | 18.1223 | -2.7039 | 18.1223 | -2.7039 | 2.8485 | -113.0625 | 2.8485 | -113.0625
|  | 18.0494 | -2.7652 | 18.0494 | -2.7652 | 2.9091 | -113.0625 | 2.9091 | -113.0625
|  | 17.9693 | -2.8278 | 17.9693 | -2.8278 | 2.9697 | -113.0625 | 2.9697 | -113.0625
|  | 17.8819 | -2.8904 | 17.8819 | -2.8904 | 3.0303 | -113.0625 | 3.0303 | -113.0625
|  | 17.7799 | -2.9517 | 17.7799 | -2.9517 | 3.0909 | -113.0625 | 3.0909 | -113.0625
|  | 17.656 | -3.0143 | 17.656 | -3.0143 | 3.1515 | -113.0625 | 3.1515 | -113.0625
|  | 17.0878 | -3.0768 | 17.0878 | -3.0768 | 3.2121 | -113.0625 | 3.2121 | -113.0625
|  | 16.1262 | -3.1394 | 16.1262 | -3.1394 | 3.2727 | -113.0625 | 3.2727 | -113.0625
|  | 15.0699 | -3.202 | 15.0699 | -3.202 | 3.3333 | -113.0625 | 3.3333 | -113.0625
|  | 14.0063 | -3.2633 | 14.0063 | -3.2633 | 3.3939 | -113.0625 | 3.3939 | -113.0625
|  | 11.289 | -3.3271 | 11.289 | -3.3271 | 3.4545 | -113.0625 | 3.4545 | -113.0625
|  | 8.3532 | -3.3897 | 8.3532 | -3.3897 | 3.5152 | -113.0625 | 3.5152 | -113.0625
|  | 8.0108 | -3.4497 | 8.0108 | -3.4497 | 3.5758 | -113.0625 | 3.5758 | -113.0625
|  | 7.9452 | -3.5123 | 7.9452 | -3.5123 | 3.6364 | -113.0625 | 3.6364 | -113.0625
|  | 7.8869 | -3.5736 | 7.8869 | -3.5736 | 3.697 | -113.0625 | 3.697 | -113.0625
|  | 7.8359 | -3.6362 | 7.8359 | -3.6362 | 3.7576 | -113.0625 | 3.7576 | -113.0625
|  | 7.7777 | -3.6975 | 7.7777 | -3.6975 | 3.8182 | -113.0625 | 3.8182 | -113.0625
|  | 7.7267 | -3.7601 | 7.7267 | -3.7601 | 3.8788 | -113.0625 | 3.8788 | -113.0625
|  | 7.683 | -3.8214 | 7.683 | -3.8214 | 3.9394 | -113.0625 | 3.9394 | -113.0625
|  | 7.632 | -3.884 | 7.632 | -3.884 | 4 | -113.0625 | 4 | -113.0625
|  | 7.5737 | -3.9465 | 7.5737 | -3.9465 | 4.0606 | -113.0625 | 4.0606 | -113.0625
|  | 7.5227 | -4.0078 | 7.5227 | -4.0078 | 4.1212 | -113.0625 | 4.1212 | -113.0625
|  | 7.4644 | -4.0704 | 7.4644 | -4.0704 | 4.1818 | -113.0625 | 4.1818 | -113.0625
|  | 7.4134 | -4.1317 | 7.4134 | -4.1317 | 4.2424 | -113.0625 | 4.2424 | -113.0625
|  | 7.3551 | -4.1955 | 7.3551 | -4.1955 | 4.303 | -113.0625 | 4.303 | -113.0625
|  | 7.2969 | -4.2569 | 7.2969 | -4.2569 | 4.3636 | -113.0625 | 4.3636 | -113.0625
|  | 7.2386 | -4.3194 | 7.2386 | -4.3194 | 4.4242 | -113.0625 | 4.4242 | -113.0625
|  | 7.173 | -4.3807 | 7.173 | -4.3807 | 4.4848 | -113.0625 | 4.4848 | -113.0625
|  | 7.1147 | -4.4433 | 7.1147 | -4.4433 | 4.5455 | -113.0625 | 4.5455 | -113.0625
|  | 7.0492 | -4.5059 | 7.0492 | -4.5059 | 4.6061 | -113.0625 | 4.6061 | -113.0625
|  | 6.9763 | -4.5684 | 6.9763 | -4.5684 | 4.6667 | -113.0625 | 4.6667 | -113.0625
|  | 6.9035 | -4.6298 | 6.9035 | -4.6298 | 4.7273 | -113.0625 | 4.7273 | -113.0625
|  | 6.8161 | -4.6923 | 6.8161 | -4.6923 | 4.7879 | -113.0625 | 4.7879 | -113.0625
|  | 6.7286 | -4.7549 | 6.7286 | -4.7549 | 4.8485 | -113.0625 | 4.8485 | -113.0625
|  | 6.6266 | -4.8162 | 6.6266 | -4.8162 | 4.9091 | -113.0625 | 4.9091 | -113.0625
|  | 6.5247 | -4.8788 | 6.5247 | -4.8788 | 4.9697 | -113.0625 | 4.9697 | -113.0625
|  | 6.3935 | -4.9413 | 6.3935 | -4.9413 | 5.0303 | -113.0625 | 5.0303 | -113.0625
|  | 6.2624 | -5.0014 | 6.2624 | -5.0014 | 5.0909 | -113.0625 | 5.0909 | -113.0625
|  | 6.0876 | -5.0627 | 6.0876 | -5.0627 | 5.1515 | -113.0625 | 5.1515 | -113.0625
|  | 5.8763 | -5.1253 | 5.8763 | -5.1253 | 5.2121 | -113.0625 | 5.2121 | -113.0625
|  | 5.5776 | -5.1879 | 5.5776 | -5.1879 | 5.2727 | -113.0625 | 5.2727 | -113.0625
|  | 4.1279 | -5.2504 | 4.1279 | -5.2504 | 5.3333 | -113.0625 | 5.3333 | -113.0625
|  | 2.0809 | -5.313 | 2.0809 | -5.313 | 5.3939 | -113.0625 | 5.3939 | -113.0625
|  | -1.5835 | -5.3768 | -1.5835 | -5.3768 | 5.4545 | -113.0625 | 5.4545 | -113.0625
|  | -1.751 | -5.4369 | -1.751 | -5.4369 | 5.5152 | -113.0625 | 5.5152 | -113.0625
|  | -1.7874 | -5.4982 | -1.7874 | -5.4982 | 5.5758 | -113.0625 | 5.5758 | -113.0625
|  | -1.8093 | -5.5595 | -1.8093 | -5.5595 | 5.6364 | -113.0625 | 5.6364 | -113.0625
|  | -1.8239 | -5.6233 | -1.8239 | -5.6233 | 5.697 | -113.0625 | 5.697 | -113.0625
|  | -1.8384 | -5.6847 | -1.8384 | -5.6847 | 5.7576 | -113.0625 | 5.7576 | -113.0625
|  | -1.853 | -5.7472 | -1.853 | -5.7472 | 5.8182 | -113.0625 | 5.8182 | -113.0625
|  | -1.8676 | -5.8085 | -1.8676 | -5.8085 | 5.8788 | -113.0625 | 5.8788 | -113.0625
|  | -1.8749 | -5.8724 | -1.8749 | -5.8724 | 5.9394 | -113.0625 | 5.9394 | -113.0625
|  | -1.8894 | -5.9337 | -1.8894 | -5.9337 | 6 | -113.0625 | 6 | -113.0625

## Celltype
Cell type
Name | default
Parameter | Value | Unit
Base Doping | p-type
Cell Area | 12766 | cm2
α (Current Coeff.) | 0.0375 | mA/(K*cm2)
β (Voltage Coeff.) | -2.2 | mV/K
κ (IV Curve Corr.) | 0 | Ohm*cm2/K
Temperature Sensor | Heliatek_PM2_Temperature_Sensor
IatV_D1: at Voltage | -8000 | mV
IatV_D2: at Voltage | -12000 | mV
IatV_D3: at Voltage | -14000 | mV
Rp: Start Voltage | -100 | mV
Rp: End Voltage | -3000 | mV
VrevMin: Current Limit | -16 | A
IatV_L1: at Voltage | 500 | mV
IatV_L2: at Voltage | 400 | mV
IatV_L3: at Voltage | 600 | mV
Curve Optimization (light steps) | disabled
Comment | no comment